## Index
RTP Scope Section Number | Input Assumption | Status | Date
Transmission Topology
4.3 | Start Cases | Final | 2021-11-12
4.3 | Recently Approved RPG Projects | Final | 2021-09-15
4.3 | Model Updates/Corrections | Final | 2021-07-13
3.1.3 | Transmission & Generation Outages | Final | 2021-05-19
Generation
3.2.1 | Generation Additions, Retirements and Mothballs | Final | 2021-10-10
3.2.2 | Renewable Generation Dispatch | Final | 2021-07-13
3.2.3 | Switchable Generation | Final | 2021-05-13
3.2.4 | DC Tie Modeling and Dispatch | Final | 2021-07-13
3.2.5 | Reserve Requirements | Final | 2021-07-13
3.2.6 | Fuel Price Assumptions | Final | 2021-05-13
3.2.6 | Emission Cost Assumptions | Final | 2021-05-13
Demand
3.3 | Load Forecast (Economic) Weather Year Assumption | Final | 2021-07-13

## Start Cases
Date Last Updated: | 2021-11-12 | Back
Status | Final
Based on 2020 RTP final summer peak reliability cases for years 2023 and 2026

## Recently Approved RPG Projects
Date Last Updated: | 2021-09-15 | Back
Status | Final
Project Name | TDSP | Approve Date | 2023 SUM | 2026 SUM
Hayes to WA Parish Ckt.09A Upgrades | CNP | 2020-01-16 | X | X
Anna - Anna Tap 138 kV Line | ONCOR | 2020-04-13 | X | X
Anna Tap - Princeton 138 kV Line | ONCOR | 2020-04-13 | X | X
Eagle Mountain to Saginaw 138 kV Double-Circuit Line Upgrade project | Oncor | 2020-07-26 | X | X
Rebuild Everman 345 kV Sw. Sta. | ONCOR | 2020-09-10 | X | X
Texas City RPG | TNMP | 2020-09-16 | X | X
Mont Belvieu Reliability Project | CNP | 2020-09-24 | X | X
Wallis to Gebhardt Ckt.65C Upgrades Gebhardt to Sealy Ckt.65A Upgrades Sealy to Peters Ckt.65A Upgrades | CNP | 2020-11-18 | X | X
Commerce - Royse 69 kV Line Conversion to 138 kV | ONCOR | 2021-01-21 | X | X
Upgrade Moore to Hondo Creek 138 kV line | STEC | 2020-05-21 | X | X
Midland Upgrade | ONCOR | 2021-02-21 | X | X
AEPSC Alamito Creek to Alpine | AEP | 2021-10-20 |  | X
Eldorado Live Oak to Sonora 69 kV Line Rebuild Project | AEP | 2019-01-17 |  | X
Mason to North Brady Line Rebuild Transmission Project | AEP | 2019-11-01 |  | X
Burma to Sterling City: Rebuild 69 kV line | AEP | 2020-11-01 |  | X
AEPSC Hamilton Road to Maxwell 138 kV line Rebuild Project | AEP | 2021-02-20 |  | X
Oncor Holliday - Seymour 69 kV Line Upgrade | ONCOR | 2021-05-15 | X | X
CNP Flewellen to Peters 138 kV ckt 25 Rebuild Project | CNP | 2021-07-02 | X | X
Bakersfield to Big Hill 345-kV Second Circuit Addition Project | STEC & LCRA | 2021-06-10 | X | X
AEPSC Mason Switch to Yellowjacket 69 kV Line Transmission Project | AEP | 2021-09-15 |  | X
Oncor Andrews North – Mustang – Paul Davis 138 kV Line Section Project | ONCOR | 2021-08-26 |  | X

## Model Updates & Corrections
Date Last Updated: | 2021-07-13 | Back
Status | Final
Model Corrections/Updates Made to the 2021 RTP Cases
Transmission Changes | TO | 2023 SUM | 2026 SUM | Comments
Rebuild Laredo VFT North to North Laredo Switch 138 kV Line | AEP | X | X | TPIT Project 58008 (Tier 4)
Updated Cagnon (5056) - Kendall (7046) Ratings | LCRA | X | X | TPIT Project 51953 (Tier 4)
Rebuild TNMP West to TNMP TI 138 kV Line | TNMP | X | X | TPIT Project 60493 (Tier 4)
Build Conan new 69 kV box bay | AEP | X | X | TPIT Project 52072 (Tier 4)
PEC_Paleface_Marshalford_StormHardening | PEC |  | X | TPIT Project 61274 (Tier 4)
Generation Changes | TO | 2023 SUM | 2026 SUM | Comments
Phase Shifters | TO | 2023 SUM | 2026 SUM | Comments

## Transmission & Gen Outages
Date Last Updated: | 2021-05-19 | Back
Status | Final
Outaged Element | Associated TO/RE | 2023 SUM | 2026 SUM | Notes
Nacogdoches Power | Nacogdoches Power, LLC | X | X | Based on May 2020 Notice of Suspension of Operations rpt.00013043.0000000000000000.20200519.141201315.2020_05_19_Nacogdoches_Power_LLC_NACPW_UNIT1_NSO.pdf
Gregory Power | Gregory Power Partners, LLC | X | X | Based on July 2019 Notice of Suspension of Operations rpt.00013043.0000000000000000.20190719.163211848.Gregory_Power_Partners_LLC_LGE_LGE_GT1_LGE_LGE_GT2_LGE_LGE_STG_NSO.pdf
Spencer Units 4 & 5 | City of Garland | X | X | Based on June 2018 Notice of Suspension of Operations rpt.00013043.0000000000000000.20180608.163447723.2018_06_08_CITY_OF_GARLAND_SPNCER_SPNCE_4_SPNCER_SPNCE_5_NSO.pdf
Automated maintenance schedules modeled by UPLAN

## Gen Add, Ret. and Mothball
Date Last Updated: | 2021-10-10 | Back
Status | Final
6.9(1) conditions met as of: | 2021-04-01
New generators that met PG 6.9(1) requirements
GINR Reference Number | Project Name | County | Projected Date | Fuel | MW For Grid | Changes From Last Report | Meets Section 6.9 Requirements (1)(b) through (1)(d) | 2023 | 2026 | Comments
19INR0091 | Phoenix Solar | Fannin | 2021-08-10 | SOL | 82.3 |  | Yes | X | X
21INR0406 | Old 300 Solar Center | Fort Bend | 2021-12-31 | SOL | 438.75 |  | Yes | X | X
21INR0229 | Prospero Solar II | Andrews | 2021-07-01 | SOL | 250 |  | Yes | X | X
21INR0213 | Vancourt Solar | Cameron | 2021-12-31 | SOL | 45.73 |  | Yes | X | X
20INR0052 | Griffin Trail Wind | Knox | 2021-07-01 | WIN | 225.6 |  | Yes | X | X
18INR0060 | Brightside Solar | Bee | 2021-07-30 | SOL | 50 |  | Yes | X | X
19INR0044 | Lily Solar | Kaufman | 2021-06-01 | SOL | 147.63 |  | Yes | X | X
19INR0121 | Galloway Solar | Concho | 2021-10-01 | SOL | 250 |  | Yes | X | X
20INR0081 | Strategic Solar 1 | Ellis | 2021-10-31 | SOL | 136.85 |  | Yes | X | X
20INR0101 | Westoria Solar | Brazoria | 2021-12-31 | SOL | 203.35 |  | Yes | X | X
20INR0231 | Topaz Power Plant | Galveston | 2021-06-01 | GAS | 510 |  | Yes | X | X
15INR0044 | Corazon Solar | Webb | 2021-05-31 | SOL | 202.64 |  | Yes | X | X
20INR0276 | North Fork Energy Storage | Williamson | 2021-05-15 | OTH | 100.49 |  | Yes | X | X
21INR0364 | Gambit Batt | Brazoria | 2021-06-01 | OTH | 102.4 |  | Yes | X | X
20INR0294 | Lily Storage | Kaufman | 2021-06-01 | OTH | 51.74 |  | Yes | X | X
19INR0145 | Aquilla Lake Wind | Hill | 2021-08-31 | WIN | 202 |  | Yes | X | X
20INR0256 | Aquilla Lake 2 Wind | Hill | 2021-10-29 | WIN | 100 |  | Yes | X | X
21INR0431 | Galloway 2 Solar | Concho | 2022-04-01 | SOL | 110 |  | Yes | X | X
20INR0142 | Ajax Wind | Wilbarger | 2021-12-01 | WIN | 366.6 |  | Yes | X | X
21INR0449 | Panther Creek III Repower | Howard | 2021-03-30 | WIN | 15.96 |  | Yes | X | X
17INR0020a | RE Maplewood 2a Solar | Pecos | 2021-08-31 | SOL | 222 |  | Yes | X | X
17INR0020b | RE Maplewood 2b Solar | Pecos | 2021-04-12 | SOL | 28 |  | Yes | X | X
22INR0352 | Sparta Solar | Bee | 2022-04-01 | SOL | 256 |  | Yes | X | X
21INR0012 | Air Products GCA | Galveston | 2022-05-15 | GAS | 14 |  | Yes | X | X
21INR0221 | Samson Solar 1 | Lamar | 2021-12-31 | SOL | 250 |  | Yes | X | X
21INR0491 | Samson Solar 3 | Lamar | 2021-12-31 | SOL | 250 |  | Yes | X | X
17INR0061 | Capricorn IV repower | Sterling | 2021-05-31 | WIN | 9 |  | Yes | X | X
21INR0389 | Red-tailed Hawk Solar | Wharton | 2022-05-31 | SOL | 355.27 |  | Yes | X | X
19INR0117 | Roadrunner Crossing Wind | Eastland | 2021-12-15 | WIN | 200.2 |  | Yes | X | X
20INR0130 | Plainview Solar | Wharton | 2021-07-15 | SOL | 514 |  | Yes | X | X
20INR0266 | Tres Bahias Solar | Calhoun | 2021-12-30 | SOL | 195 |  | Yes | X | X
22INR0205 | Sbranch Solar | Wharton | 2022-04-01 | SOL | 230 |  | Yes | X | X
21INR0498 | Baird North II Wind | Callahan | 2021-07-15 | WIN | 20 |  | Yes | X | X
20INR0082 | Vision Solar 1 | Navarro | 2021-11-07 | SOL | 129.24 |  | Yes | X | X
19INR0176 | Roughneck Storage | Brazoria | 2021-07-01 | OTH | 50 |  | Yes | X | X
21INR0365 | Bat Cave Energy Storage | Mason | 2021-06-01 | OTH | 100.49 |  | Yes | X | X
18INR0079 | Woodward I repower | Pecos | 2021-05-31 | WIN | 0 |  | Yes | X | X
21INR0201 | Brandon | Lubbock | 2021-06-03 | GAS | 21 |  | Yes | X | X
21INR0202 | R Massengale | Lubbock | 2021-06-03 | GAS | 58 |  | Yes | X | X
21INR0506 | Ty Cooke | Lubbock | 2021-07-31 | GAS | 33 |  | Yes | X | X
21INR0522 | Ignacio Grid | Hidalgo | 2022-03-03 | OTH | 101.52 |  | Yes | X | X
22INR0371 | PES 2 Power Station | Harris | 2021-07-01 | GAS | 102 |  | Yes | X | X
20INR0098 | Danciger Solar | Brazoria | 2022-06-01 | SOL | 203.2 |  | Yes | X | X
20INR0216 | Starr Solar Ranch | Starr | 2021-10-01 | SOL | 135.99 |  | Yes | X | X
19INR0085 | Blue Jay Solar | Grimes | 2021-12-30 | SOL | 210 |  | Yes | X | X
21INR0387 | Anchor Wind | Eastland | 2021-12-24 | WIN | 262.92 |  | Yes | X | X
21INR0460 | Republic Road Storage | Robertson | 2021-10-29 | OTH | 51.75 |  | Yes | X | X
21INR0413 | Big Star Solar | Bastrop | 2022-03-31 | SOL | 220.61 |  | Yes | X | X
19INR0056 | Chamon 2 | Harris | 2021-10-01 | GAS | 100 |  | Yes | X | X
19INR0057 | Old Bloomington Road | Victoria | 2021-07-15 | GAS | 100 |  | Yes | X | X
20INR0097 | El Suaz Ranch | Willacy | 2022-09-30 | WIN | 301.74 |  | Yes | X | X
21INR0205 | Radian Solar | Brown | 2022-12-31 | SOL | 374.4 |  | Yes | X | X
21INR0323 | Spanish Crown | Falls | 2022-07-15 | SOL | 103.1 |  | Yes | X | X
21INR0341 | Space City Solar | Wharton | 2022-05-06 | SOL | 609.74 |  | Yes | X | X
21INR0357 | SP TX-12B BESS | Upton | 2021-09-01 | OTH | 25.12 |  | Yes | X | X
21INR0496 | Flower Valley II Batt | Reeves | 2021-08-01 | OTH | 100.98 |  | Yes | X | X
21INR0497 | Swoose II | Ward | 2021-08-01 | OTH | 100.98 |  | Yes | X | X
21INR0510 | Crossett Power Batt | Crane | 2021-08-01 | OTH | 206.97 |  | Yes | X | X
21INR0521 | White Mesa 2 Wind | Coke | 2021-11-30 | WIN | 348 |  | Yes | X | X
22INR0322 | BRP Paleo BESS | Hale | 2022-09-30 | OTH | 202.4 |  | Yes | X | X
22INR0325 | BRP Dickens BESS | Dickens | 2022-09-30 | OTH | 202.41 |  | Yes | X | X
22INR0242 | Bright Arrow Solar | Hopkins | 2022-12-15 | SOL | 324.72 |  | Yes | X | X
19INR0103 | Rodeo Solar | Andrews | 2022-01-30 | SOL | 200 |  | Yes | X | X
22INR0202 | Delilah Solar 1 | Lamar | 2022-06-01 | SOL | 300 |  | Yes | X | X
22INR0203 | Delilah Solar 2 | Lamar | 2023-06-30 | SOL | 310 |  | Yes | X | X
23INR0042 | Delilah Solar 3 | Lamar | 2023-06-30 | SOL | 200 |  | Yes | X | X
23INR0060 | Delilah Solar 4 | Lamar | 2023-06-30 | SOL | 90 |  | Yes | X | X
20INR0120 | Vortex Wind | Throckmorton | 2021-12-31 | WIN | 350.15 |  | Yes | X | X
16INR0085 | Priddy Wind | Mills | 2021-11-30 | WIN | 300 |  | Yes | X | X
PG 6.9(1) Inactive Projects
INR | Project Name | Fuel | County | Inactive Date | MW
14INR0030c | Panhandle Wind 3 | Wind | Carson | 2019-09-24 09:41 | 248
13INR0038 | Wildrose Wind | Wind | Swisher | 2019-12-20 13:53 | 302.5
17INR0020c | RE Maplewood 2c Solar | Solar | Pecos | 2020-06-30 12:37 | 250
17INR0020e | RE Maplewood 2e Solar | Solar | Pecos | 2019-03-19 16:52 | 100
17INR0020d | RE Maplewood 2d Solar | Solar | Pecos | 2019-03-19 16:52 | 100
PG 6.9(1) Cancelled Projects
INR | Project Name | Fuel | County | Inactive Date | MW
16INR0037c | Pumpkin Farm Wind | Wind | Floyd | 2020-05-13 17:07 | 280.9
16INR0114 | Upton Solar | Solar | Upton | 2021-03-18 13:15 | 104.56
Retired Units
Unit Name | MW For Grid | 2023 | 2026 | Comments
Decker Units 1 & 2 | 748 | X | X | Based on June 2020 Notice of Suspension of Operations rpt.00013043.0000000000000000.20200601.164257065.2020_06_01_City_of_Austin_dba_Austin_Energy_DECKER_DPG1_NSO.pdf
Oklaunion | 650 | X | X | Based on January 2020 Notice of Suspension of Operations rpt.00013043.0000000000000000.20200121.160548892.2020_01_21_Public_Service_Company_of_Oklahoma_OKLA_OKLA_G1_NSO.pdf
Southwest Mesa Wind | 80.3 | X | X | Based on May 2019 Notice of Suspension of Operations rpt.00013043.0000000000000000.20190523.151615784.2019_05_23_West_Texas_Wind_Energy_Partners_LP_SW_MESA_SW_MESA_NSO.pdf
Union Carbide | 35 | X | X | Based on May 2017 Notice of Suspension of Operations
Rayburn 1 & Rayburn 2 | 22 | X | X | Based on Febuary 2021 Notice of Suspension of Operations rpt.00013043.0000000000000000.20201001.162838660.2020_10_01_ STEC_RAYBURN_RAYBURG1_RAYBURN_RAYBURG2_NSO
ENAS_ENAS1 | 63 | X | X | Based on May 26 2021 Notification of Suspension of Operations (NSO) for Snyder Wind Farm LLC (ENAS_ENAS1)
KEO_KEO_SM1 | 150 | X | X | Based on Febuary 2021 Notice of Suspension of Operations 2021-01-20 NSO - KEO_KEO_SM1 - Sherbino I Wind - Retiring on 2_1_21
TGF_TGFGT_1 | 69 | X | X | Based on Notice of Suspension of Operations of 2020-11-30 NSO - TGF_TGFGT_1_retired_11_30_20
Mothballed Units
Unit Name | MW For Grid | 2023 | 2026 | Comments
J T Deely Units 1 & 2 | 840 | X | X | Based on June 2013 Notice of Suspension of Operations
Gibbons Creek | 470 | X | X | Based on December 2018 Notice of Suspension of Operations rpt.00013043.0000000000000000.20181221.161838015.2018_12_21_CITY_OF_GARLAND_GIBCRK_GIB_CRG1_NSO.pdf and August 2020 PUC filing of termination of (repower) interconnection agreement
Petra Nova GT2 | 71 | X | X | Based on June 2021 Notice of Suspension of Operations rpt.00013043.0000000000000000.20210127.173603362.2021_01_27_Petra_Nova_Power_I_LLC_ PNPI_GT2_NSO
AMOCO_5 | 32 | X | X | Based on June 2013 Notice of Suspension of Operations
AMOCO_S2 | 125 | X | X | Based on January 2021 Notice of Suspension of Operations

## Renewable Generation Dispatch
Date Last Updated: | 2021-07-13 | Back
Status | Final
Solar
http://www.ercot.com/gridinfo/resource
Weather years used for analysis:
Base | 2013
Sensitivity | 2007, 2008, 2011 and 2015
Wind
http://www.ercot.com/gridinfo/resource
Weather years used for analysis:
Base | 2013
Sensitivity | 2007, 2008, 2011 and 2015
Hydro
Unit specific monthly capacity factors modeled based on historical dispatch levels during the last three years.

## Switchable Generation
Date Last Updated: | 2021-05-13 | Back
Status | Final
Operational Resources (Switchable)
UNIT NAME | UNIT CODE | COUNTY | FUEL | ZONE | IN SERVICE | 2023 | 2026
ANTELOPE IC 1 | ANTLP_G1 | HALE | GAS | WEST | 2016 | 54 | 54
ANTELOPE IC 2 | ANTLP_G2 | HALE | GAS | WEST | 2016 | 54 | 54
ANTELOPE IC 3 | ANTLP_G3 | HALE | GAS | WEST | 2016 | 54 | 54
ELK STATION CTG 1 | AEEC_ELK_1 | HALE | GAS | WEST | 2016 | 190 | 190
ELK STATION CTG 2 | AEEC_ELK_2 | HALE | GAS | WEST | 2016 | 190 | 190
Switchable Capacity Unavailable to ERCOT | SWITCH_UNAVAIL |  | GAS |  |  | -542 | -542

## DC Tie Modeling & Dispatch
Date Last Updated: | 2021-07-13 | Back
Status | Final
Economic Analysis
DC Tie Dispatch - 8760-hour Assumptions
DC_E | Import + Export | Mapped to hourly generation and demand profiles based on historical operational data.
DC_N | Import + Export | Mapped to hourly generation and demand profiles based on historical operational data.
DC_L | Import + Export | Mapped to hourly generation and demand profiles based on historical operational data.
DC_R | Import + Export | Mapped to hourly generation and demand profiles based on historical operational data.

## Reserve Requirement
Date Last Updated: | 2021-07-13 | Back
Status | Final
Economic Analysis | 1762.3 MW
The reserve requirement used in the economic models are based on a review of ERCOT’s 2021 Responsive Reserve and Regulation Up requirements. Note that the MW contribution of load resources is not an input into the economic model.

## Fuel Price Assumptions
Date Last Updated: | 2021-05-13 | Back
Status | Final
Source | EIA 2021 AEO Reference Case
Year | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Average
2021 | 3.35 | 3.1192 | 2.9872 | 3.0442 | 3.0926 | 3.1462 | 3.035 | 3.0441 | 3.0214 | 3.1723 | 3.1912 | 3.3977 | 3.1334
2022 | 3.5259 | 3.2829 | 3.1439 | 3.204 | 3.2549 | 3.3113 | 3.1943 | 3.2038 | 3.18 | 3.3388 | 3.3587 | 3.5761 | 3.2979
2023 | 3.3152 | 3.0868 | 2.9561 | 3.0125 | 3.0605 | 3.1135 | 3.0034 | 3.0124 | 2.99 | 3.1393 | 3.158 | 3.3624 | 3.1009
2024 | 3.1563 | 2.9388 | 2.8144 | 2.8681 | 2.9137 | 2.9642 | 2.8595 | 2.868 | 2.8467 | 2.9888 | 3.0066 | 3.2012 | 2.9522
2025 | 3.3123 | 3.0841 | 2.9536 | 3.0099 | 3.0578 | 3.1108 | 3.0008 | 3.0098 | 2.9874 | 3.1366 | 3.1553 | 3.3595 | 3.0982
2026 | 3.5137 | 3.2715 | 3.1331 | 3.1929 | 3.2437 | 3.2999 | 3.1832 | 3.1927 | 3.169 | 3.3273 | 3.3471 | 3.5637 | 3.2865

## Emission Cost Assumptions
Date Last Updated: | 2021-05-13 | Back
Status | Final
Source | EIA AEO
Emission | $/ton
Nox | 0
SO2 | 0
CO2 | 0

## Economic Case-Load Forecast
Date Last Updated: | 2021-07-13 | Back
Status | Final
Load forecast (economic)
Weather year assumption | Base: 2013
The peak and hourly profile information will be posted along with the case information
Note that the 2013 weather scenario is the base weather scenario used as the starting point in the economic analysis.