## Start Cases
Date Last Updated: | 2024-12-15
Status | Final
RTP Case Version: | 2023 RTP Final Case - posted December 2023
On Peak Case:
2023 RTP Final 2029 Summer Peak Case

## Gen Add. Ret. and Mothball
Date Last Updated: | 2024-12-15
Status | Final
New generators that met PG 6.9 requirements
GINR Reference Number | Project Name | County | Projected COD | Fuel | MW For Grid | Meets Section 6.9 Requirements (1)(b) through (1)(d) | Extreme Winter | Hurricane | Comments
21INR0505 | Ramsey Storage | Wharton | 2025-12-31 | Other | 510.4 | 2023-08-18 | X | X
22INR0267 | Shaula II Solar | DeWitt | 2026-05-30 | Solar | 205.2 | 2023-03-27 | X | X
23INR0555 | Farmersville West BESS 1 | Collin | 2024-04-09 | Other | 9.9 | 2023-10-04 | X | X
22INR0251 | Shaula I Solar | DeWitt | 2025-10-30 | Solar | 205.2 | 2023-03-27 | X | X
23INR0507 | Bay City BESS | Matagorda | 2023-11-03 | Other | 9.99 | 2023-05-03 | X | X
23INR0483 | Rio Nogales CT1 Rotor Replacement | Guadalupe | 2023-06-08 | Gas | 3.1 | 2023-10-13 | X | X
20INR0208 | Signal Solar | Hunt | 2025-03-15 | Solar | 51.79 | 2023-06-12 | X | X
23INR0367 | Fewell Solar | Limestone | 2025-09-09 | Solar | 203.5 | 2023-08-28 | X | X
23INR0554 | Hamilton BESS | Val Verde | 2024-04-22 | Other | 9.95 | 2023-05-03 | X | X
21INR0012 | Air Products GCA | Galveston | 2024-03-08 | Gas | 60 | 2023-03-13 | X | X
22INR0260 | Eliza Storage | Kaufman | 2024-11-01 | Other | 100.2 | 2023-02-17 | X | X
24INR0070 | Sypert Branch Solar Project | Milam | 2025-06-01 | Solar | 261.78 | 2023-10-18 | X | X
24INR0265 | Ironman BESS | Brazoria | 2025-01-13 | Other | 304.2 | 2023-08-25 | X | X
23INR0565 | Garden City East BESS | Glasscock | 2024-02-07 | Other | 9.95 | 2023-06-01 | X | X
23INR0159 | Five Wells Storage | Bell | 2023-12-30 | Other | 220.8 | 2023-02-27 | X | X
23INR0515 | Santa Rosa BESS | Cameron | 2023-12-11 | Other | 9.99 | 2023-08-25 | X | X
23INR0688 | Midway_BESS | Ector | 2024-03-01 | Other | 9.95 | 2023-11-01 | X | X
22INR0422 | Ferdinand Grid BESS | Bexar | 2026-05-31 | Other | 202.65 | 2023-08-18 | X | X
23INR0030 | Langer Solar | Bosque | 2027-03-01 | Solar | 249.8 | 2024-01-05 | X | X
23INR0543 | Continental BESS | Starr | 2024-03-29 | Other | 9.8 | 2023-06-05 | X | X
23INR0514 | North Mercedes BESS | Hidalgo | 2023-12-11 | Other | 9.99 | 2023-06-01 | X | X
21INR0511 | Wolf Ridge Repower | Cooke | 2024-04-02 | Wind | 121.5 | 2023-03-31 | X | X
23INR0508 | Los Fresnos BESS | Cameron | 2023-12-08 | Other | 9.99 | 2023-02-24 | X | X
22INR0502 | Shamrock | Crockett | 2024-04-19 | Wind | 223.92 | 2023-04-28 | X | X
24INR0010 | Pinnington Solar | Jack | 2025-10-15 | Solar | 666.1 | 2023-11-15 | X | X
24INR0436 | Carambola BESS | Hidalgo | 2026-05-31 | Other | 97.43 | 2023-08-08 | X | X
23INR0219 | Dogfish BESS | Pecos | 2024-12-31 | Other | 75 | 2023-08-01 | X | X
21INR0515 | Roadrunner Crossing Wind II SLF | Eastland | 2025-01-20 | Wind | 126.72 | 2023-05-01 | X | X
25INR0223 | Uhland Maxwell | Caldwell | 2025-04-15 | Gas | 188.4 | 2023-09-05 | X | X
23INR0556 | IEP Orchard BESS | Fort Bend | 2024-08-06 | Other | 9.99 | 2024-01-04 | X | X
24INR0273 | Al Pastor BESS | Dawson | 2024-08-16 | Other | 103.1 | 2023-11-01 | X | X
23INR0509 | Garceno BESS | Starr | 2023-12-08 | Other | 9.99 | 2023-02-01 | X | X
22INR0261 | Dorado Solar | Callahan | 2025-12-31 | Solar | 406.25 | 2023-07-10 | X | X
19INR0054 | Monte Cristo 1 Wind | Hidalgo | 2025-08-20 | Wind | 234.5 | 2023-08-18 | X | X
24INR0586 | Judkins BESS | Ector | 2024-02-07 | Other | 9.95 | 2023-11-01 | X | X
23INR0296 | Trojan Solar | Cooke | 2026-02-28 | Solar | 151.25 | 2023-07-28 | X | X
24INR0138 | Midpoint Storage | Hill | 2025-08-30 | Other | 52.24 | 2023-11-13 | X | X
23INR0381 | Soportar ESS | Bexar | 2025-03-15 | Other | 102.11 | 2023-08-25 | X | X
23INR0513 | Elsa BESS | Hidalgo | 2023-12-11 | Other | 9.99 | 2023-08-25 | X | X
23INR0620 | Falfurrias BESS | Brooks | 2024-04-24 | Other | 9.9 | 2023-10-04 | X | X
25INR0105 | Diver Solar | Limestone | 2026-06-30 | Solar | 228.16 | 2023-11-13 | X | X
23INR0523 | Damon_Storage | Brazoria | 2024-06-28 | Other | 5 | 2023-12-01 | X | X
25INR0328 | Longbow BESS | Brazoria | 2024-11-13 | Other | 180.8 | 2023-12-12 | X | X
22INR0555 | Guevara Storage | Rockwall | 2025-07-15 | Other | 125.36 | 2023-11-13 | X | X
23INR0477 | North Alamo BESS | Hidalgo | 2023-11-30 | Other | 9.99 | 2023-05-03 | X | X
23INR0470 | BoCo BESS | Borden | 2024-06-22 | Other | 155.48 | 2023-03-09 | X | X
24INR0295 | Lucky Bluff BESS | Erath | 2025-05-31 | Other | 100.8 | 2023-11-20 | X | X
23INR0331 | Talitha BESS | Jim Wells | 2024-06-30 | Other | 61.39 | 2023-04-04 | X | X
24INR0587 | Lufkin South BESS | Angelina | 2024-03-04 | Other | 9.95 | 2023-11-01 | X | X
24INR0139 | Midpoint Solar | Hill | 2025-08-30 | Solar | 103.8 | 2023-11-13 | X | X
21INR0368 | Eliza Solar | Kaufman | 2024-11-01 | Solar | 151.6 | 2023-02-17 | X | X
21INR0302 | Aureola Solar | Milam | 2024-06-28 | Solar | 203 | 2023-08-01 | X | X
22INR0353 | Carina BESS | Nueces | 2024-12-31 | Other | 154.12 | 2023-07-18 | X | X
20INR0248 | Second Division Solar | Brazoria | 2024-09-17 | Solar | 100.3 | 2023-10-31 | X | X
23INR0387 | Pioneer DJ Wind | Midland | 2024-05-03 | Wind | 140.32 | 2023-04-28 | X | X
23INR0091 | Cascade Solar | Brazoria | 2025-04-30 | Solar | 254.2 | 2023-12-07 | X | X
24INR0312 | Wigeon Whistle BESS | Collin | 2024-09-01 | Other | 122.9 | 2023-10-31 | X | X
24INR0281 | Red Egret BESS | Galveston | 2025-06-01 | Other | 310.58 | 2023-08-08 | X | X
23INR0510 | Rio Grande City BESS | Starr | 2023-12-08 | Other | 9.99 | 2023-02-24 | X | X
24INR0614 | Russek Street BESS | Reagan | 2024-05-04 | Other | 9.9 | 2024-01-04 | X | X
23INR0070 | Chillingham Solar | Bell | 2024-12-15 | Solar | 352.39 | 2024-01-30 | X | X
24INR0397 | Destiny Storage | Harris | 2026-01-31 | Other | 201.11 | 2023-09-21 | X | X
21INR0379 | Ash Creek Solar | Hill | 2025-01-31 | Solar | 417.74 | 2024-01-17 | X | X
24INR0632 | Cedro Hill Wind Repower | Webb | 2024-12-28 | Wind | 159.93 | 2024-01-30 | X | X
23INR0403 | Connolly Storage | Wise | 2024-08-15 | Other | 125.36 | 2023-08-18 | X | X
24INR0605 | TEXAS GULF SULPHUR REPOWER | Wharton | 2024-08-19 | Gas | 94 | 2024-01-31 | X | X
20INR0217 | CAROL wind | Potter | 2025-04-17 | Wind | 165.42 | 2024-01-31 | X | X
23INR0336 | Bypass Battery Storage | Fort Bend | 2025-12-15 | Other | 206.9 | 2024-01-09 | X | X
22INR0354 | XE MURAT Solar | Harris | 2024-06-01 | Solar | 60.36 | 2023-08-03 | X | X
25INR0232 | Isaac Solar | Matagorda | 2026-03-31 | Solar | 51.6 | 2023-10-31 | X | X
24INR0141 | Gaia Solar | Navarro | 2025-07-31 | Solar | 152.65 | 2023-11-15 | X | X
24INR0140 | Gaia Storage | Navarro | 2025-07-31 | Other | 76.83 | 2023-11-15 | X | X
24INR0329 | XE Murat Storage | Harris | 2024-12-14 | Other | 62.05 | 2024-02-01 | X | X
24INR0337 | Eldora Solar | Matagorda | 2026-06-30 | Solar | 200.94 | 2023-12-18 | X | X
23INR0054 | Tanglewood Solar | Brazoria | 2025-01-16 | Solar | 257 | 2023-02-10 | X | X
21INR0304 | Halo Solar | Bell | 2024-06-29 | Solar | 254 | 2023-08-01 | X | X
24INR0039 | SP Jaguar BESS | McLennan | 2025-06-30 | Other | 300 | 2023-08-25 | X | X
23INR0026 | Baker Branch Solar | Lamar | 2024-08-01 | Solar | 469.42 | 2023-10-03 | X | X
24INR0015 | Five Wells Solar | Bell | 2024-03-30 | Solar | 322.82 | 2023-03-22 | X | X
23INR0154 | Ebony Energy Storage | Comal | 2024-04-30 | Other | 203.5 | 2023-02-10 | X | X
23INR0349 | Tokio Solar | McLennan | 2025-08-25 | Solar | 177.64 | 2023-11-17 | X | X
26INR0042 | Valhalla Solar | Brazoria | 2026-05-31 | Solar | 306.8 | 2024-01-05 | X | X
23INR0062 | Noria Storage | Nueces | 2025-09-01 | Other | 75 | 2023-04-12 | X | X
24INR0109 | Oriana BESS | Victoria | 2025-07-02 | Other | 60.3 | 2023-08-25 | X | X
22INR0366 | LIBRA BESS | Guadalupe | 2024-03-30 | Other | 206.21 | 2023-02-10 | X | X
23INR0511 | Mayberry BESS | Cameron | 2023-12-22 | Other | 9.99 | 2023-02-24 | X | X
23INR0408 | TECO GTG2 | Harris | 2024-04-15 | Gas | 50 | 2023-04-20 | X | X
23INR0512 | West Harlingen BESS | Cameron | 2023-12-11 | Other | 9.99 | 2023-08-25 | X | X
25INR0162 | SOHO II BESS | Brazoria | 2025-01-01 | Other | 206.32 | 2023-08-24 | X | X
23INR0418 | Angelo Storage | Tom Green | 2024-05-31 | Other | 102.97 | 2023-05-01 | X | X
21INR0240 | La Casa Wind | Stephens | 2025-06-10 | Wind | 148.4 | 2024-01-04 | X | X
21INR0303 | Mandorla Solar | Milam | 2024-11-29 | Solar | 254 | 2023-08-24 | X | X
21INR0389 | Hollywood Solar | Wharton | 2024-06-30 | Solar | 353.41 | 2023-02-03 | X | X
14INR0033 | Goodnight Wind | Armstrong | 2024-02-14 | Wind | 258.1 | 2023-05-01 | X | X
19INR0203 | Angelo Solar | Tom Green | 2024-05-31 | Solar | 195.41 | 2023-05-01 | X | X
23INR0114 | True North Solar | Falls | 2024-06-30 | Solar | 238.26 | 2023-06-06 | X | X
23INR0525 | Pyron Wind Repower | Nolan | 2024-02-01 | Wind | 268.92 | 2023-10-13 | X | X
20INR0040 | Montgomery Ranch Wind | Foard | 2024-09-01 | Wind | 200.2 | 2023-07-31 | X | X
24INR0038 | SP Jaguar Solar | McLennan | 2025-06-30 | Solar | 300 | 2023-08-25 | X | X
23INR0460 | GULF STAR STORAGE | Wharton | 2024-06-25 | Other | 152.74 | 2023-04-28 | X | X
21INR0450 | Danish Fields Storage | Wharton | 2024-03-06 | Other | 152.43 | 2023-07-11 | X | X
24INR0338 | Eldora BESS | Matagorda | 2026-06-30 | Other | 201.31 | 2023-12-18 | X | X
21INR0424 | Tierra Bonita Solar | Pecos | 2024-10-29 | Solar | 306.9 | 2023-07-24 | X | X
20INR0210 | Hopkins Solar | Hopkins | 2023-12-30 | Solar | 253.08 | 2023-04-28 | X | X
24INR0427 | CPS AvR CT1 Rotor Replacement | Bexar | 2024-02-15 | Gas | 11.3 | 2023-04-18 | X | X
21INR0325 | Sheep Creek Wind | Callahan | 2024-02-15 | Wind | 153 | 2023-05-01 | X | X
24INR0100 | Sheep Creek Storage | Callahan | 2024-07-01 | Other | 142.1 | 2023-11-01 | X | X
23INR0637 | Goodnight Wind II | Armstrong | 2025-11-29 | Wind | 258.3 | 2023-05-01 | X | X
19INR0134 | Cottonwood Bayou Solar | Brazoria | 2024-08-13 | Solar | 351.4 | 2023-04-27 | X | X
24INR0023 | Compadre Solar | Hill | 2024-12-11 | Solar | 406.14 | 2024-02-01 | X | X
24INR0208 | Eastbell Milam Solar II | Milam | 2024-12-20 | Solar | 152.52 | 2024-02-01 | X | X
23INR0044 | Parliament Solar | Waller | 2024-12-31 | Solar | 484.56 | 2024-01-24 | X | X
22INR0490 | Callisto I Energy Center | Harris | 2024-08-15 | Battery Storage | 203.04 | 2022-09-20 | X | X
20INR0035 | Angus Solar | BOSQUE | 2026-04-01 | Solar | 112 | 2022-08-24 | X | X
New generators that have a signed IA
GINR Reference Number | Project Name | County | Projected COD | Fuel | MW For Grid | IA Signed | Extreme Winter | Hurricane | Comments
23INR0144 | Galactic Solar | Grayson | 2024-03-01 | Solar | 205.2 | Y | X | X
18INR0073 | Sweetwater 1 repower | Nolan | 2024-07-31 | Wind | 3 | Y | X | X
23INR0385 | Camp Creek Solar SLF | Robertson | 2024-08-31 | Solar | 165.6 | Y | X | X
23INR0150 | Cradle Solar | Brazoria | 2025-01-02 | Solar | 225 | Y | X | X
21INR0391 | Grandslam Solar | Atascosa | 2025-03-01 | Solar | 121.89 | Y | X | X
22INR0417 | Amsterdam Storage | Brazoria | 2025-03-01 | Other | 201.13 | Y | X | X
21INR0256 | Amsterdam Solar | Brazoria | 2025-03-01 | Solar | 509.88 | Y | X | X
22INR0554 | Platinum Storage | Fannin | 2025-03-03 | Other | 309.53 | Y | X | X
22INR0388 | Cachi BESS | Guadalupe | 2025-03-31 | Other | 205.46 | Y | X | X
24INR0093 | Oriana Solar | Victoria | 2025-04-06 | Solar | 181 | Y | X | X
21INR0393 | Orange Grove Solar | Jim Wells | 2025-04-30 | Solar | 130.6 | Y | X | X
24INR0031 | Stoneridge Solar | Milam | 2025-04-30 | Solar | 201.6 | Y | X | X
25INR0300 | Wizard BESS | Galveston | 2025-05-01 | Other | 150.82 | Y | X | X
23INR0287 | Avila BESS | Pecos | 2025-05-01 | Other | 164.28 | Y | X | X
23INR0079 | Chillingham Storage | Bell | 2025-05-02 | Other | 153.93 | Y | X | X
22INR0540 | Walstrom BESS | Austin | 2025-05-05 | Other | 200 | Y | X | X
23INR0354 | Bordertown BESS | Starr | 2025-05-10 | Other | 106.15 | Y | X | X
23INR0058 | Erin Solar | Wharton | 2025-05-31 | Solar | 202.5 | Y | X | X
23INR0350 | Fort Duncan BESS | Maverick | 2025-06-01 | Other | 106.15 | Y | X | X
21INR0500 | SkySealy | Austin | 2025-06-01 | Gas | 149.4 | Y | X | X
23INR0358 | Castor BESS | Brazoria | 2025-06-01 | Other | 205.39 | Y | X | X
24INR0128 | Desna BESS | Brazoria | 2025-06-01 | Other | 205.46 | Y | X | X
24INR0166 | Stillhouse Solar | Bell | 2025-06-01 | Solar | 212.51 | Y | X | X
23INR0290 | Zeya BESS | Galveston | 2025-06-01 | Other | 255.33 | Y | X | X
25INR0467 | Bocanova BESS | Brazoria | 2025-06-01 | Other | 300.92 | Y | X | X
24INR0075 | Blue Bird Solar | Johnson | 2025-06-01 | Solar | 1004 | Y | X | X
24INR0460 | Evelyn Battery Energy Storage System | Galveston | 2025-06-10 | Other | 221.3 | Y | X | X
24INR0306 | Arroyo Storage | Cameron | 2025-06-27 | Other | 183.76 | Y | X | X
22INR0517 | Ray Gulf Wind | Wharton | 2025-06-30 | Wind | 207 | Y | X | X
25INR0052 | SanPat Solar 1 | San Patricio | 2025-07-01 | Solar | 256.23 | Y | X | X
25INR0081 | SanPat Solar 2 | San Patricio | 2025-07-01 | Solar | 308.88 | Y | X | X
23INR0225 | MRG GOODY SOLAR | Lamar | 2025-07-07 | Solar | 171.72 | Y | X | X
24INR0294 | Citrus Flatts BESS | Cameron | 2025-07-15 | Other | 100.8 | Y | X | X
21INR0517 | Tidwell Prairie Storage 1 | Robertson | 2025-07-15 | Other | 200 | Y | X | X
25INR0262 | Shepard Energy Storage | Galveston | 2025-07-15 | Other | 263.2 | Y | X | X
24INR0382 | Remy Jade II Power Station | Harris | 2025-07-30 | Gas | 102 | Y | X | X
23INR0494 | Cartwheel BESS 1 | Hopkins | 2025-07-31 | Other | 156.91 | Y | X | X
21INR0268 | Greyhound Solar | Ector | 2025-08-08 | Solar | 608.7 | Y | X | X
23INR0344 | XE Hermes Solar | Bell | 2025-08-25 | Solar | 100.36 | Y | X | X
24INR0365 | XE Hermes Storage | Bell | 2025-08-25 | Other | 100.42 | Y | X | X
24INR0302 | Pintail Pass BESS | San Patricio | 2025-08-27 | Other | 207.25 | Y | X | X
23INR0056 | Caliche Mound Solar | Deaf Smith | 2025-08-28 | Solar | 408.21 | Y | X | X
24INR0303 | Erika Solar | Kaufman | 2025-08-31 | Solar | 204.08 | Y | X | X
23INR0061 | Noria Solar DCC | Nueces | 2025-09-01 | Solar | 145 | Y | X | X
24INR0116 | Hart Wind 2 | Castro | 2025-09-01 | Wind | 166.38 | Y | X | X
16INR0112 | Loma Pinta Wind | La Salle | 2025-09-01 | Wind | 197.01 | Y | X | X
25INR0208 | Iron Belt Energy Storage | Borden | 2025-09-01 | Other | 401.9 | Y | X | X
24INR0042 | Yaupon Solar SLF | Milam | 2025-09-17 | Solar | 204.08 | Y | X | X
22INR0211 | Schoolhouse Solar | Lee | 2025-09-22 | Solar | 150.84 | Y | X | X
23INR0364 | Tierra Seca BESS | Val Verde | 2025-09-30 | Other | 101.21 | Y | X | X
23INR0351 | Seven Flags BESS | Webb | 2025-09-30 | Other | 102.62 | Y | X | X
19INR0022 | Monte Alto I | Willacy | 2025-09-30 | Wind | 141.5 | Y | X | X
19INR0023 | Monte Alto 2 Wind | Willacy | 2025-09-30 | Wind | 307.9 | Y | X | X
22INR0281 | Pink Solar | Hunt | 2025-10-01 | Solar | 151.9 | Y | X | X
16INR0104 | Big Sampson Wind | Crockett | 2025-10-04 | Wind | 265.4 | Y | X | X
21INR0421 | Armadillo Solar | Navarro | 2025-10-15 | Solar | 204 | Y | X | X
24INR0057 | Hanson Storage | Coleman | 2025-10-21 | Other | 101.39 | Y | X | X
24INR0207 | Glasgow Storage | Navarro | 2025-11-10 | Other | 101 | Y | X | X
24INR0206 | Glasgow Solar | Navarro | 2025-11-10 | Solar | 203.5 | Y | X | X
22INR0559 | Honeycomb Solar | Bee | 2025-12-01 | Solar | 61.1 | Y | X | X
21INR0444 | Long Point Storage | Brazoria | 2025-12-01 | Other | 100.62 | Y | X | X
22INR0558 | Callisto II Energy Center | Harris | 2025-12-10 | Other | 406.06 | Y | X | X
22INR0467 | Bird Dog BESS | Live Oak | 2025-12-11 | Other | 60 | Y | X | X
23INR0300 | Greater Bryant G Solar | Midland | 2025-12-15 | Solar | 17.7 | Y | X | X
23INR0361 | Third Coast BESS | Jackson | 2025-12-15 | Other | 102.84 | Y | X | X
22INR0342 | Matagorda Solar | Matagorda | 2025-12-27 | Solar | 101 | Y | X | X
24INR0472 | Amador Storage | Van Zandt | 2025-12-31 | Other | 100.92 | Y | X | X
19INR0042 | Long Point Solar | Brazoria | 2025-12-31 | Solar | 120 | Y | X | X
23INR0249 | Limewood Solar | Bell | 2025-12-31 | Solar | 204.6 | Y | X | X
21INR0274 | Carol Solar | Potter | 2025-12-31 | Solar | 223.2 | Y | X | X
22INR0401 | Eval Storage | Cameron | 2025-12-31 | Other | 255 | Y | X | X
23INR0286 | Dry Creek Solar I | Rusk | 2026-01-01 | Solar | 202.54 | Y | X | X
24INR0477 | Barrett Solar | Rains | 2026-01-13 | Solar | 127.5 | Y | X | X
22INR0274 | Crowded Star Solar II | Jones | 2026-01-26 | Solar | 190.18 | Y | X | X
24INR0275 | Picadillo BESS | Martin | 2026-02-15 | Other | 100.83 | Y | X | X
22INR0262 | Deville Solar | Callahan | 2026-02-28 | Solar | 425.02 | Y | X | X
25INR0131 | SOSA Storage | Madison | 2026-03-31 | Other | 157.36 | Y | X | X
21INR0207 | Quantum Solar | Haskell | 2026-03-31 | Solar | 374.4 | Y | X | X
23INR0031 | Solace Solar | Haskell | 2026-03-31 | Solar | 374.4 | Y | X | X
25INR0503 | Uhland Maxwell Expansion | Caldwell | 2026-04-07 | Gas | 188.4 | Y | X | X
21INR0362 | Oystercatcher Solar | Ellis | 2026-04-15 | Solar | 220.33 | Y | X | X
23INR0156 | Umbra (Stockyard) BESS | Franklin | 2026-04-16 | Other | 72.98 | Y | X | X
23INR0155 | Umbra (Stockyard) Solar | Franklin | 2026-04-16 | Solar | 207.84 | Y | X | X
24INR0059 | Cuchillas Solar | Webb | 2026-05-01 | Solar | 305.6 | Y | X | X
23INR0340 | Larkspur Energy Storage | Upton | 2026-05-05 | Other | 307.46 | Y | X | X
24INR0106 | Payne Battlecreek | Hill | 2026-05-15 | Solar | 84.99 | Y | X | X
23INR0093 | Alila Solar | San Patricio | 2026-05-15 | Solar | 256.5 | Y | X | X
21INR0029 | Green Holly Storage | Dawson | 2026-05-30 | Other | 50 | Y | X | X
21INR0033 | Red Holly Storage | Dawson | 2026-05-30 | Other | 50 | Y | X | X
21INR0022 | Red Holly Solar | Dawson | 2026-05-30 | Solar | 260 | Y | X | X
21INR0021 | Green Holly Solar | Dawson | 2026-05-30 | Solar | 413.6 | Y | X | X
25INR0055 | Three W Solar | Hill | 2026-06-01 | Solar | 110.56 | Y | X | X
21INR0334 | Nightfall Solar SLF | Uvalde | 2026-06-30 | Solar | 181.16 | Y | X | X
24INR0399 | Buzios Solar | Motley | 2026-06-30 | Solar | 253.46 | Y | X | X
25INR0100 | Goldeneye BESS | Bell | 2026-07-06 | Other | 201.6 | Y | X | X
21INR0326 | Dove Run Solar | Duval | 2026-07-31 | Solar | 120.86 | Y | X | X
21INR0031 | Indigo Solar | Fisher | 2026-08-17 | Solar | 125 | Y | X | X
23INR0202 | Erath County Solar | Erath | 2026-08-27 | Solar | 207.4 | Y | X | X
25INR0109 | Sun Cactus Solar | Duval | 2026-08-31 | Solar | 120.63 | Y | X | X
23INR0207 | El Patrimonio Solar | Bexar | 2026-09-23 | Solar | 152.32 | Y | X | X
20INR0050 | Castro Solar | Castro | 2026-09-30 | Solar | 222.95 | Y | X | X
21INR0210 | Adamstown Solar | Wichita | 2026-09-30 | Solar | 251.28 | Y | X | X
22INR0279 | Clutch City Solar Phase I | Brazoria | 2026-10-01 | Solar | 200.75 | Y | X | X
21INR0263 | Monarch Creek Wind | Throckmorton | 2026-10-01 | Wind | 344.41 | Y | X | X
23INR0057 | Duffy Solar | Matagorda | 2026-11-01 | Solar | 545.21 | Y | X | X
21INR0520 | Viking Solar | Somervell | 2026-11-07 | Solar | 288.99 | Y | X | X
23INR0083 | Bottom Grass BESS | Colorado | 2026-12-01 | Other | 202.21 | Y | X | X
23INR0082 | Bottom Grass Solar | Colorado | 2026-12-01 | Solar | 508.61 | Y | X | X
24INR0313 | Backbone Creek BESS | Burnet | 2026-12-26 | Other | 120.69 | Y | X | X
23INR0089 | Donegal Solar | Dickens | 2027-03-01 | Solar | 204.2 | Y | X | X
22INR0499 | Aquilla Lake 3 Wind | Hill | 2027-04-09 | Wind | 225 | Y | X | X
23INR0086 | Hanson Solar | Coleman | 2027-04-17 | Solar | 400.58 | Y | X | X
25INR0400 | Maldives Solar (Alternate POI) | Scurry | 2027-07-01 | Solar | 210 | Y | X | X
25INR0068 | High Chap Solar | Brazoria | 2027-08-04 | Solar | 152.25 | Y | X | X
23INR0029 | Cedar Bayou5 | Chambers | 2027-12-15 | Gas | 697 | Y | X | X
22INR0257 | Corazon Solar Phase II | Webb | 2028-06-01 | Solar | 203.9 | Y | X | X
23INR0248 | Limewood Storage | Bell | 2028-12-29 | Other | 50 | Y | X | X
21INR0226 | Equinox Solar 1 | Starr | 2028-12-30 | Solar | 200 | Y | X | X
24INR0315 | Black Springs BESS SLF | PALO PINTO | 2025-10-15 | Battery Storage | 120.96 | Y | X | X
20INR0222 | Tyson Nick Solar | LAMAR | 2025-08-01 | Solar | 90.5 | Y | X | X
23INR0299 | Anole BESS | DALLAS | 2025-05-30 | Battery Storage | 247.3 | Y | X | X
19INR0110 | Azalea Springs Solar | ANGELINA | 2025-06-23 | Solar | 181 | Y | X | X
22INR0511 | Gransolar Texas One | MILAM | 2025-04-25 | Solar | 50 | Y | X | X
22INR0468 | Lower Rio BESS | HIDALGO | 2025-03-31 | Battery Storage | 60.45 | Y | X | X
24INR0491 | Gunnar BESS | HIDALGO | 2025-12-01 | Battery Storage | 203 | Y | X | X
20INR0086 | Arroyo Solar | CAMERON | 2028-02-22 | Solar | 180 | Y | X | X
16INR0049 | Nazareth Solar | CASTRO | 2025-12-31 | Solar | 204 | Y | X | X
23INR0401 | Headcamp BESS | PECOS | 2025-06-16 | Battery Storage | 150 | Y | X | X
24INR0395 | Berkman Storage | GALVESTON | 2027-05-31 | Battery Storage | 150.86 | Y | X | X
21INR0443 | Cottonwood Bayou Storage | BRAZORIA | 2025-06-12 | Battery Storage | 153.03 | Y | X | X
23INR0103 | Burksol BESS | DICKENS | 2025-03-12 | Battery Storage | 103.27 | Y | X | X
20INR0203 | Pine Forest Solar | HOPKINS | 2025-12-01 | Solar | 305 | Y | X | X
22INR0356 | Jungmann Solar | MILAM | 2025-04-25 | Solar | 40.21 | Y | X | X
23INR0195 | Desert Willow BESS | ELLIS | 2025-03-20 | Battery Storage | 154.4 | Y | X | X
New dispatchable generators that have started or completed FIS
GINR Reference Number | Project Name | County | Projected COD | Fuel | MW For Grid | FIS Started/Completed | Extreme Winter | Hurricane | Comments
24INR0567 | Wolf Hollow III | Hood | 2024-11-29 | Gas | 306.32 | Y | X | X
24INR0456 | FRIENDSWOOD ENERGY GENCO | Harris | 2024-12-01 | Gas | 143.7 | Y | X | X
21INR0527 | Hays Energy Unit 3 Repower | Hays | 2025-03-30 | Gas | 18 | Y | X | X
21INR0534 | Midlothian Unit 2 repower | Ellis | 2025-03-30 | Gas | 18 | Y | X | X
22INR0523 | Midlothian 4 repower | Ellis | 2025-03-30 | Gas | 18 | Y | X | X
22INR0543 | Midlothian Unit 3 repower | Ellis | 2025-03-30 | Gas | 18 | Y | X | X
22INR0586 | Hays Energy Unit 2 Repower | Hays | 2025-03-30 | Gas | 18 | Y | X | X
23INR0411 | SkySealy2 | Austin | 2025-06-01 | Gas | 150 | Y | X | X
24INR0479 | NRG THW GT 138 | Harris | 2025-07-01 | Gas | 458 | Y | X | X
24INR0482 | NRG THW GT 345 | Harris | 2025-07-01 | Gas | 456 | Y | X | X
22INR0497 | TEXPO | Wilbarger | 2025-10-31 | Gas | 680 | Y | X | X
26INR0111 | Graphic Packaging Gas | McLennan | 2026-01-01 | Gas | 43.36 | Y | X | X
27INR0095 | Bulldog Power | Brazoria | 2026-04-30 | Gas | 300.75 | Y | X | X
26INR0049 | Calpine Freestone Peaker 1 | Freestone | 2026-05-01 | Gas | 228 | Y | X | X
26INR0109 | Calpine Freestone Peaker 2 | Freestone | 2026-05-01 | Gas | 228 | Y | X | X
26INR0350 | Jack County III – 138 kV | Jack | 2026-05-01 | Gas | 660 | Y | X | X
23INR0345 | Elmax Power Station | Harris | 2026-06-01 | Gas | 518.83 | Y | X | X
26INR0294 | Longleaf Power Station | Angelina | 2026-06-01 | Gas | 612 | Y | X | X
24INR0410 | NRG Greens Bayou 6 LLC | Harris | 2026-06-02 | Gas | 455 | Y | X | X
24INR0411 | Greens Bayou Unit 9 CT 345 | Harris | 2026-06-02 | Gas | 455 | Y | X | X
24INR0576 | Boling Generation | Wharton | 2027-02-23 | Gas | 400 | Y | X | X
24INR0145 | Calpine Guadalupe Peakers | Guadalupe | 2027-05-23 | Gas | 450 | Y | X | X
26INR0351 | Jack County III – 345 kV | Jack | 2027-07-01 | Gas | 660 | Y | X | X
25INR0008 | BasRanch | Reeves | 2028-03-01 | Gas | 1350 | Y | X | X
22INR0546 | Enchanted Rock NEWPP | HARRIS | 2025-06-06 | Gas | 30 | Y | X | X
25INR0531 | CPS Energy AvR1CT2 Rotor Replacement | BEXAR | 2025-03-03 | Gas | 175.3 | Y | X | X
Mothballed Units
Unit Name | MW For Grid | Extreme Winter | Hurricane | Comments
AMOC_AMOCO_5 | 32 | X | X | Notice of probability
SL_G1 | 65 | X | X | NSO posted
SL_G2 | 65 | X | X | NSO posted
SL_G3 | 30 | X | X | NSO posted
SL_G4 | 30 | X | X | NSO posted
WFCOGEN_UNIT4 | 17 | X | X | NSO posted
SGMTN_SIGNALM2 | 6.6 | X | X | NSO posted
TOSBATT_UNIT1 | 2 | X | X | NSO posted
Seasonal Mothballed Units (Offline in the 2026 Min case only)
Unit Name | MW For Grid | Extreme Winter | Hurricane | Comments
Retirement Units back in service
Unit Name | MW For Grid | Extreme Winter | Hurricane | Comments
LGE_LGE_GT1 | 145 | X | X | NCGRD posted
LGE_LGE_GT2 | 145 | X | X | NCGRD posted
LGE_LGE_STG | 75 | X | X | NCGRD posted
B_DAVIS_B_DAVIG1 | 292 | X | X | Rescinded NSO on 10/27/2023
Planned Units Removed Due to Project Cancellation
Unit Name | MW For Grid | Extreme Winter | Hurricane | Comments
Buckeye Corpus Fuels Solar | 57.59 | X | X | Cancelled
MIRAGE | 11 | X | X | Suspended

## RPG Projects Moved or Removed (hidden)
Date Last Updated: | 2023-06-14 |  | Back
Status | Final
Based on TPIT dated:
RPG Projects Removed from the RTP Cases
ERCOT Project Number | Project Title | Project Description | "from" Location | "to" Location | Associated Projects | Transmission Owner | TSP Contact | Transmission Owner Project Number (Optional) | Projected In-Service Date (Month/Yr) | Service Level kV | Planning Charter Tier | Date Submitted TO ERCOT for RPG Review (Month/Yr) | Date RPG Review Completed (Month/Yr) | Date ERCOT BOD Review Completed (Month/Yr) | SSWG Base Case Related Bus Numbers (If applicable) (CSV) | Is the project reflected in SSWG Base Cases? (Y/N) | Phase Number | MOD Project Number
64239 | Vineyard Switch-North Lake Switch 138 kV Line | Construct a new 138 kV circuit from Vineyard to Northlake | North Lake Switch | Vineyard Switch |  | ONCOR | Charles Saker charles.saker@oncor.com 214-743-6896 |  | 2025-12-15 | 138 | Tier 3 | N/A | N/A | N/A | 2022, 2386, 12012, 12013, 15030, 15035, 15040 | Y | 70741 | 64239
5981 | Shamburger North 345/138 kV Sw. Sta. | Establish Shamburger North 345/138 kV Sw. Sta. | Shamburger North | Shamburger North |  | ONCOR | Charles Saker charles.saker@oncor.com 214-743-6904 |  | 2026-05-15 | 345 | Tier 3 |  |  |  | 3217, 3223, 3226, 2478, 3103, 3201, 3206 | Y | 13696 | 5981
6304 | Shamburger North - Shamburger 345 kV Line | Upgrade existing 345 kV Line | Shamburger North | Shamburger |  | ONCOR | Charles Saker charles.saker@oncor.com 214-743-6905 |  | 2026-05-28 | 345 | Tier 3 |  |  |  | 3103, 3223 | Y | 14033 | 6304
5436 | Morgan Creek - McDonald 138 kV Line | Upgrade existing line | Morgan Creek | McDonald Rd |  | ONCOR | Charles Saker charles.saker@oncor.com 214-743-6906 |  | 2024-12-15 | 138 | Tier 3 |  |  |  | 1032, 1333, 11395 | Y | 73625 | 5436
4834 | Cresson - Rocky Creek 138 kV Line | Construct new line | Cresson | Rocky Creek |  | ONCOR | Charles Saker charles.saker@oncor.com 214-743-6908 |  | 2028-05-15 | 138 | Tier 2 |  |  |  | 1881, 2202 | Y | 12436 | 4834
6287 | Sherry Sw. - Webb/Kennedale 345 kV DCKT Line | Upgrade the existing 345 kV Line | Sherry | Webb/Kennedale |  | ONCOR | Charles Saker charles.saker@oncor.com 214-743-6912 |  | 2027-05-15 | 345 | Tier 3 | N/A | N/A | N/A | 1911, 1918, 1930, 1929, 1932, 1934 | Y | 14016 | 6287
5524 | Royse South 345/138 kV Switching Station | Establish new 345/138 kV switching station | Royse | Forney |  | ONCOR | Charles Saker charles.saker@oncor.com 214-743-6913 |  | 2027-05-15 12:00 | 345 | Tier 3 | N/A | N/A | N/A | 2469, 2470, 12471, 2437, 2467, 2471, 2478, 2702, 2472, 2474, 2710, 3223 | Y | 49918 | 5524
69224 | AEP_TCC_PortLavaca-BrookhollowPortLavaca | Rebuild 138 kV Line from Brookhollow to Port Lavaca | Brookhollow | Port Lavaca |  | AEP | Lorraine Timmerman bcogan@aep.com 918-599-2857 |  | 2025-11-30 | 138 | Tier 1 | N/A | N/A | N/A | 8720, 8133, 8536 | Y | 71834 | 69224
50876 | AEP_TCC_PortLavaca-VictoriaRebuild | Retire 69 kV Line on Victoria to Port Lavaca | Port Lavaca | Victoria |  | AEP | Lorraine Timmerman bcogan@aep.com 918-599-2857 |  | 2025-11-30 | 69 | Tier 1 | N/A | N/A | N/A | 8135, 8136, 8169 | Y | 50877 | 50876
67915 | AEP_TCC_Asherton-West Batesville138kVLineRebuild | Rebuild 36.09 miles from Asherton to West Batesville 138 kV line | Asherton | West Batesville |  | AEP | Brandon K Cogan bcogan@aep.com 918-599-2857 |  | 2026-11-30 | 138 | Tier 3 | N/A | N/A | N/A | 8236, 8285, 8283 | Y | 67916 | 67915
55605 | AEP_TCC_NewBarksdale-Rocksprings | New Barksdale to Rocksprings: Rebuild 69 kV line | New Barksdale | Rocksprings |  | AEP | Bill Roberts bcogan@aep.com 918-599-2857 |  | 2026-01-01 | 69 | Tier 3 | N/A | N/A | N/A | 8238, 8365 | Y | 65572 | 55605
55617 | AEP_TCC_Campwood-NewBarksdale | Campwood to New Barksdale: Rebuild 69 kV line | New Barksdale | Campwood |  | AEP | Bill Roberts bcogan@aep.com 918-599-2857 |  | 2026-01-01 | 69 | Tier 3 | N/A | N/A | N/A | 8633, 8365 | Y | 65573 | 55617
54892 | AEP_TNC_Eden-North BradyRehab | Rehab Eden to North Brady 69 kV line | Eden | North Brady |  | AEP | Larry Brown mlforcum@aep.com 918-599-2674 |  | 2027-04-30 | 69 | Tier 3 | N/A | N/A | N/A | 60797, 6372, 6380, 6385 | Y | 65568 | 54892
70941 | TNMP_70941_Cedarvale_345 | Construct new Cedarvale 345kV station, include two 345-138kV transformers. Cut -in to North McCamey-Sand Lake 345 kV double circuit lines. | Cedarvale 138 kV (bus # 38145) | Cedarvale 345 kV (bus # 38144) |  | TNMP | Antonio Cashiola Antonio.Cashiola@tnmp.com |  | 2025-06-01 | 138 | Tier 2 | N/A | N/A | N/A | 11098, 38144, 38145, 38147,38148 | Y | 70942 | 70941
70943 | TNMP_70943_Pyote-Coyanosa_Dbl-Ckt | Double circuit 138 kV tie between TNMP Pyote and Coyanosa substations. | Pyote (bus # 38001) | Coyanosa (bus # 38380) |  | TNMP | Ross Cloninger Ross.Cloninger@tnmp.com |  | 2025-06-01 | 138 | Tier 2 | N/A | N/A | N/A | 38001, 38380 | Y | 70944 | 70943
71178 | Oncor_ME_71178_Seagoville-Watermill 138 kV Line | Rebuild Seagoville-Watermill 138 kV Line | Seagoville | Watermill |  | ONCOR | Charles Saker charles.saker@oncor.com 214-743-6911 |  | 2025-05-15 | 138 | Tier 3 | N/A | N/A | N/A | 23438, 23439, 2321, 3083, 2261, 2967, 2429, 2335, 3076, 2434, 3077, 3079 | Y | 71179 | 71178
52332 | Oncor_FW_52332_Lamesa - Paul Davis Tap 138 kV Line Section | Upgrade the existing 138 kV line | Lamesa | Paul Davis Tap |  | ONCOR | Charles Saker charles.saker@oncor.com 214-743-6911 |  | 2024-12-15 | 138 | Tier 3 | N/A | N/A | N/A | 1163, 1170, 10008, 18880 | Y | 71169 | 52332
71182 | Oncor_FW_71182_Reiter 345-138 kV Switch | Construct a new 345/138 kV switch | Odessa EHV | Wolf/Moss |  | ONCOR | Charles Saker charles.saker@oncor.com 214-743-6911 |  | 2025-12-15 | 345 | Tier 3 | N/A | N/A | N/A | 18544, 18545, 18546, 18547, 1018, 1027, 11010, 11028, 11111, 1111 | Y | 71184 | 71182
71187 | Oncor_FW_71187_Reiter - Tesoro 345 kV Double-Circuit Line | Construct new 2.5-mile 345 kV double-circuit line from Tesoro to Reiter | Tesoro | Reiter |  | ONCOR | Charles Saker charles.saker@oncor.com 214-743-6911 |  | 2025-05-15 | 345 | Tier 2 | N/A | N/A | N/A | 18540, 18544 | Y | 71189 | 71187
45640 | Oncor_FW_45640_Spraberry - Polecat Creek 138 kV Line | Upgrade the existing 138 kV line | Spraberry | Polecat Creek |  | ONCOR | Charles Saker charles.saker@oncor.com 214-743-6911 |  | 2024-12-15 | 138 | Tier 3 | N/A | N/A | N/A | 11350, 11337, 11372, 11394, 1328, 10029, 1329, 1337 | Y | 73413 | 45640
RPG Projects With ISD Changes
ERCOT Project Number | Project Title | Project Description | "from" Location | "to" Location | Associated Projects | Transmission Owner | TSP Contact | Transmission Owner Project Number (Optional) | Original Projected In-Service Date (Month/Yr) | New Projected In-Service Date (Month/Yr) | Service Level kV | Planning Charter Tier | Date Submitted TO ERCOT for RPG Review (Month/Yr) | Date RPG Review Completed (Month/Yr) | Date ERCOT BOD Review Completed (Month/Yr) | SSWG Base Case Related Bus Numbers (If applicable) (CSV) | Is the project reflected in SSWG Base Cases? (Y/N) | Phase Number | MOD Project Number
55626 | AEP_TCC_Ganso - Hamilton Road 138 kV Line Rebuild | Rebuild 138 kV line from Ganso to Hamilton Road | Maverick | Hamilton Road |  | AEP | Bill Roberts bcogan@aep.com 918-599-2857 |  | 2025-12-02 | 2026-12-02 | 138 | Tier 3 | N/A | N/A | N/A | 8255, 8267, 8692 | Y | 65576 | 55626

## Recently Approved RPG Projects
Date Last Updated: | 2024-12-15
Status | Final
RPG Project ID | RPG Project Name | TDSP | Approve Date
22RPG026 | Wimberley Loop project | PEC | 2023
22RPG042 | Carver to Maxwell 138 kV Line Rebuild Project | AEPSC | Reclassified as a Tier 4 project
22RPG047 | Peck to Driver 138 kV Line Project | ONCOR | 2023
23RPG001 | Bessel to Falfurrias 138 kV Line Rebuild Project | AEPSC | Reclassified as a Tier 4 project
23RPG004 | Lockhart to Luling 69-kV Transmission Line Overhaul Project | LCRA | Reclassified as a Tier 4 project
23RPG006 | North Lake 138 kV Switch Rebuild | ONCOR | Reclassified as a Tier 4 project
23RPG012 | Stone Lake Area Upgrades Project | CNP | 2023
23RPG013 | Silverleaf and Cowpen 345/138-kV Stations Project | TNMP | 2023
23RPG015 | Cuero Substation Upgrade Project | LCRA | Reclassified as a Tier 4 project
23RPG016 | Tributary Switch – Vincent Rebuild Project | ONCOR | 2023
23RPG018 | Arlington Reliability Enhancement Project | ONCOR | 2023
23RPG019 | Stanton Loop South Dynamic Reactive Power Project | ONCOR | 2023
23RPG021 | West Columbia to Big Creek ckt 89 Reconductor Project | CNP | Reclassified as a Tier 4 project
23RPG023 | Pecos County Transmission Improvement Projet | TNMP | 2024
23RPG026 | Synchronous Condensers Project | WETT | 2023
23RPG027 | Bakersfield Dynamic Reactive Substation Upgrade | LCRA | 2023
23RPG028 | Rio Medina Project | STEC | 2024
23RPG029 | West Texas Synchronous Condenser Project | ONCOR | 2023
23RPG034 | West Texas 345-kV Infrastructure Rebuild Project | ONCOR | 2024

## Temp. for Dynamic Ratings (hidden)
Date Last Updated: | 2022-01-04 | Back
Status | Final
Weather Zone | 90th Percentile Temperature (degree F)
Coast | 100
East | 105
Far West | 110
North Central | 110
North | 110
South Central | 105
South | 105
West | 110

## Renewable Generation Dispatch (hidden)
Date Last Updated: | 2023-06-09 |  | Back
Status | Final
Solar
Information obtained from the spreadsheet "CDR_Summer_PeakAveSolarCapacityPercentages_11-23-2021" posted on the ERCOT website under Resource Adequacy. Note: Solar units are offline in the Min case.
* SOLARPEAKPCT Values | 79%
* The methodology for calculating SOLARPEAKPCT values is outlined in ERCOT Protocol Section 3.2.6.2.2. See:http://www.ercot.com/content/wcm/current_guides/53528/03-090118_Nodal.docx
Wind
Information obtained from the spreadsheet "CDR_Summer_PeakAveWindCapacityPercentages_11_23-2020" posted on the ERCOT website under Resource Adequacy.
Outside Study Region
WINDPEAKPCT Values *
Summer, Coastal | Summer, Panhandle | Summer, Other
60% | 30% | 21%
* The methodology for calculating WINDPEAKPCT values is outlined in ERCOT Protocol Section 3.2.6.2.2. See:http://www.ercot.com/content/wcm/current_guides/53528/03-090118_Nodal.docx
Inside Study Region
Summer, Coastal | Summer, Panhandle | Summer, Other
46% | 13% | 10%
Inside and Outside Study Region
Min Case, Coastal | Min Case, Panhandle | Min Case, Other
29% | 49% | 39%
Hydro
Unit specific generation MW dispatch modeled using CDR methodology which is based on historical Settlements HSL dispatch levels during the top 20 load hours of the last three years. Note: All Hydro units are offline in the Min case.
AMI_AMISTAG1 (H1) | 25.45
AMI_AMISTAG2 (H2) | 19.0333
AUS_AUSTING1 (H2) | 8.5967
AUS_AUSTING1 (H1) | 8
BUC_BUCHANG1 (H1) | 16
BUC_BUCHANG2 (H2) | 16
BUC_BUCHANG3 (H3) | 17
CAN_CANYHYG1 (H1) | 0
CAN_CANYHYG1 (H2) | 0
DND_DENISOG1 (H1) | 40
DND_DENISOG2 (H2) | 33.3333
EA_EAGLE_HY1 (H3) | 0
EA_EAGLE_HY1 (H2) | 0
EA_EAGLE_HY1 (H1) | 0
FAL_FALCONG1 (H1) | 7.45
FAL_FALCONG2 (H2) | 7.4
FAL_FALCONG3 (H3) | 7.1667
INKS_INKS_G1 (H1) | 13.38
MAR_MARBFAG1 (H1) | 20.54
MAR_MARBFAG2 (H2) | 20
MAR_MARSFOG1 (H1) | 33.7813
MAR_MARSFOG2 (H2) | 35.346
MAR_MARSFOG3 (H3) | 34.444
WIR_WIRTZ_G1 (H1) | 29
WIR_WIRTZ_G2 (H2) | 29
WND_WHITNEY1 (H1) | 21.9617
WND_WHITNEY2 (H2) | 21.9617

## Switchable Generation (hidden)
Date Last Updated: | 2023-04-06 |  | Back
Status | Final
Operational Resources Unavailable to ERCOT (Switchable)
UNIT NAME | UNIT CODE | COUNTY | FUEL | ZONE | IN SERVICE | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
ANTELOPE IC 1 | AEEC_ANTLP_1_UNAVAIL | HALE | GAS-IC | PANHANDLE | 2017 | -54 | -54 | -54 | -54 | -54 | -54 | -54 | -54 | -54 | -54
ANTELOPE IC 2 | AEEC_ANTLP_2_UNAVAIL | HALE | GAS-IC | PANHANDLE | 2017 | -54 | -54 | -54 | -54 | -54 | -54 | -54 | -54 | -54 | -54
ANTELOPE IC 3 | AEEC_ANTLP_3_UNAVAIL | HALE | GAS-IC | PANHANDLE | 2017 | -54 | -54 | -54 | -54 | -54 | -54 | -54 | -54 | -54 | -54
ELK STATION CTG 1 | AEEC_ELK_1_UNAVAIL | HALE | GAS-GT | PANHANDLE | 2017 | -190 | -190 | -190 | -190 | -190 | -190 | -190 | -190 | -190 | -190
ELK STATION CTG 2 | AEEC_ELK_2_UNAVAIL | HALE | GAS-GT | PANHANDLE | 2017 | -190 | -190 | -190 | -190 | -190 | -190 | -190 | -190 | -190 | -190
Switchable Capacity Unavailable to ERCOT | SWITCH_UNAVAIL |  |  |  |  | -542 | -542 | -542 | -542 | -542 | -542 | -542 | -542 | -542 | -542

## DC Tie Modeling & Dispatch (hidden)
Date Last Updated: | 2023-06-09 |  | Back
Status | Final
Reliability Analysis
DC Tie Dispatch - Summer Peak Conditions (MW)
DC_E | 600 | Import
DC_N | 220 | Import
DC_L* | 0
DC_R* | 0
DC Tie Dispatch - Minimum Load Conditions (MW)
DC_E | 0
DC_N | 0
DC_L* | 0
DC_R* | 0
* In the events that thermal overloads are resolved by curtialing the DC Tie exports, the events and the curtailed amounts will be documented.

## Reserve Requirement (hidden)
Date Last Updated: | 2023-01-04 | Back
Status | Final
Reliabity Cases | 3000 MW
The reserve requirements used in the reliability models account for the outage of ERCOT's two largest units as well as the increased losses observed during such an G-1 & N-1 outage.

## Fuel Price Assumptions (hidden)
Date Last Updated: | 2023-04-05 |  | Back
Status | Final
Source
Natural Gas Price Forecast ($/MMBtu)
Year | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Average
2023 | 5.7024 | 5.4821 | 5.1284 | 5.2785 | 5.4208 | 5.5119 | 5.3497 | 5.427 | 5.4187 | 5.6084 | 5.6072 | 5.8739 | 5.4841
2024 | 4.5172 | 4.3426 | 4.0625 | 4.1814 | 4.2941 | 4.3662 | 4.2378 | 4.299 | 4.2925 | 4.4427 | 4.4418 | 4.653 | 4.3442
2025 | 3.9548 | 3.802 | 3.5567 | 3.6608 | 3.7596 | 3.8227 | 3.7102 | 3.7638 | 3.7581 | 3.8896 | 3.8888 | 4.0737 | 3.8034
2026 | 3.5483 | 3.4112 | 3.1912 | 3.2846 | 3.3732 | 3.4298 | 3.3289 | 3.377 | 3.3718 | 3.4899 | 3.4891 | 3.655 | 3.4125
2027 | 3.3737 | 3.2433 | 3.0341 | 3.1229 | 3.2071 | 3.261 | 3.165 | 3.2108 | 3.2059 | 3.3181 | 3.3174 | 3.4752 | 3.2445
2028 | 3.3824 | 3.2518 | 3.042 | 3.131 | 3.2154 | 3.2694 | 3.1732 | 3.2191 | 3.2142 | 3.3267 | 3.326 | 3.4842 | 3.253
2029 | 3.4833 | 3.3488 | 3.1327 | 3.2244 | 3.3114 | 3.367 | 3.2679 | 3.3151 | 3.3101 | 3.426 | 3.4252 | 3.5881 | 3.35

## Sensitivity Analysis (hidden)
Date Last Updated: | 2023-11-30 | Back
Status | Final
For sensitivity 1, the wind and solar output values below reflect their assumed output prior to any redispatch to alleviate transmission constraints. For sensitivity 2, the wind and solar output values below reflect their assumed output after the needed curtailment to maintain system critical intertia and stability limits.
Sensitivity 1: | Low Solar Net Summer Peak
Year | ERCOT Load (MW) | DC Tie Export* (MW) | Wind Output (MW) |  |  |  | Solar Output (MW) | Total Renewable Output (MW)
|  |  | South Wind (Coastal) | South Wind (Non-Coastal) | Panhandle | Other
2025 | 88789 | -820 | 3453 | 2971 | 529 | 8358 | 4240 | 19551
2028 | 93124 | -820 | 3453 | 2971 | 529 | 8358 | 4240 | 19551
Sensitivity 2: | High Renewable Light Load
Case | ERCOT Load (MW) | DC Tie Export* (MW) | Wind Output (MW) |  |  | Solar Output (MW) | Total Renewable Output (MW)
|  |  | Coastal | Panhandle | Other
2026 | 57984 | 100 | 3233 | 2283 | 18422 | 25402 | 49340
* negative sign indicating DC tie import.