## Slide 1
Meter Working Group Update
Michael Blum, MWG Chair
December 19, 2024

## Slide 2: SMOGRR028 Discussion (Loss Comp. Current Limiting Reactors)
  Reviewed comments from TDSP (CenterPoint Energy)
  Other TDSPs voiced additional suggestions during meeting and a MWG Edit for SMOGRR was created
    Revisions included responsibility of Owners to provide TDSP with needed value to perform calculations
    MWG Edits to SMOGRR were distributed to stakeholder after meeting
  Scenarios were presented illustrating when Loss Compensation for Current Limiting Reactors would or wouldn’t be required.
  MWG recommends approval of SMOGRR028 with MWG Dec 2024 comments.
PUBLIC - 1/8/25 MWG TO WMS

## Slide 3: Other MWG Discussion
  2025 Leadership – Michael Blum (Chair) is stepping down
  Kyle Stuckly (Vice Chair) has expressed interest in Chair role and has support from his management
PUBLIC - 1/10/24 MWG TO WMS
PUBLIC - 1/8/25 MWG TO WMS