APPROVED

Minutes of the Reliability Operations Subcommittee (ROS) Meeting

ERCOT Austin – 8000 Metropolis Drive (Building E), Suite 100 – Austin, Texas 78744

Thursday, November 7, 2024 – 9:30 a.m.

Attendance

ROS Representatives:

| Bevill, Rob | Texas-New Mexico Power (TNMP) |  | Alt. Rep. for Chris Gerety |
| --- | --- | --- | --- |
| Blankenship, David | CenterPoint Energy (CNP) |  | Alt. Rep. for Wes Woitt |
| Borkar, Sandeep | Lower Colorado River Authority (LCRA) |  |  |
| Bowen, Kenneth | CPS Energy |  | Via Teleconference |
| Burkhead, Brett | Calpine Corporation (Calpine) |  |  |
| Carter, Matt | Garland Power & Light (GP&L) |  |  |
| Cook, Kristin | Southern Power |  | Alt. Rep. for Chase Smith via Teleconference |
| Fun, Meng | Chariot Energy |  | Via Teleconference |
| Haley, Ian | Morgan Stanley |  |  |
| Keefer, Andrew | Denton Municipal Electric (DME) |  | Alt. Rep. for Chris Lutrick via Teleconference |
| Koenig, Chris | Golden Spread Electric Cooperative (GSEC) |  |  |
| Kremling, Barry | Guadalupe Valley Electric Cooperative (GVEC) |  |  |
| Matt, Kevin | Reliant Energy Retail Services (Reliant) |  |  |
| Miller, Alex | EDF Renewables |  |  |
| Mrini, Imane | Austin Energy |  | Via Teleconference |
| Nashawati, Eithar | Oncor Electric Delivery (Oncor) |  | Via Teleconference |
| Person, Paul | South Texas Electric Cooperative (STEC) |  |  |
| Pokharel, Nabaraj | Office of Public Utility Council (OPUC) |  | Via Teleconference |
| Reed, Cyrus | Sierra Cub |  | Via Teleconference |
| Reid, Mike | Air Liquide |  | Via Teleconference |
| Rich, Katie | Luminant Corporation (Luminant) |  |  |
| Schmitt, Jennifer | Rhythm Ops |  | Via Teleconference |
| Spalek, Matthew | AEP Service Corporation (AEPSC) |  |  |
| Varnell, John | Tenaska Power Services (Tenaska) |  | Alt. Rep. for Adam Cochran via Teleconference |
| Williams, Mary Elen | OPUC |  | Alt. Rep. for Nabaraj Pokharel via Teleconference |

The following proxies were assigned:

- Resmi Surendran to Ian Haley

- Chris Hendrix to Jennifer Schmitt

| - Guests: |  |  |
| --- | --- | --- |
| Ainspan, Malcolm | NRG | Via Teleconference |
| Aldridge, Ryan | AB Power | Via Teleconference |
| Anderson, Connor | AB Power Advisors | Via Teleconference |
| Archambault, Miah | Enel | Via Teleconference |
| Ashley, Kristy | Customized Energy Solutions (CES) | Via Teleconference |
| Bailey, Robert | NRG | Via Teleconference |
| Barnes, Bill | Reliant |  |
| Beard, Mason | HEN | Via Teleconference |
| Bertin, Suzanne |  | Via Teleconference |
| Blakey, Eric | Pedernales Electric Cooperative (PEC) | Via Teleconference |
| Block, Lauri | LBlock Consulting | Via Teleconference |
| Bojorquez, Bill |  | Via Teleconference |
| Bunch, Kevin | EDF Trading | Via Teleconference |
| Carter, Cathey | Grid Axon | Via Teleconference |
| Chan, Vanessa | ENEL | Via Teleconference |
| Coleman, Diana | CPS Energy | Via Teleconference |
| Collard, Brad | PEC | Via Teleconference |
| De Arizon, Maria | CNP | Via Teleconference |
| DeWitt, Charles | PEC | Via Teleconference |
| Dharme, Neeraja | EDFT | Via Teleconference |
| Donohoo, Ken | OwlERC | Via Teleconference |
| Downey, Marty | Consultant/Luminant Corporation | Via Teleconference |
| Dreyfus, Mark | MD Energy Consulting | Via Teleconference |
| Escamilla, Gerardo | CPS Energy | Via Teleconference |
| Evans, Doug | AEP | Via Teleconference |
| Floyd, Rickey | Oncor | Via Teleconference |
| Frederick, Jennifer | AEP Texas |  |
| Harvey, Julia | Texas Electric Cooperatives (TEC) | Via Teleconference |
| Headrick, Bridget | CES | Via Teleconference |
| Henry, Mark | Texas Reliability Entity, Inc. (Texas RE) |  |
| Henson, Martha | Oncor |  |
| Hernandez, Rene | GVEC | Via Teleconference |
| Helton, Bob | ENGIE |  |
| Holt, Blake | LCRA | Via Teleconference |
| Huynh, Thuy | Potomac Economics | Via Teleconference |
| Jablonski, Ward | MEPPI | Via Teleconference |
| Jha, Monica | Vistra | Via Teleconference |
| Jowlabar, Nicholas | RWE | Via Teleconference |
| Jowlabar, Nicholas | RWE | Via Teleconference |
| Kandah, Amjed | Oncor | Via Teleconference |
| Koberlein, Paul | LP&L | Via Teleconference |
| Kroskey, Tony | Brazos Electric Cooperative | Via Teleconference |
| Lee, Jim | CNP |  |
| Loth, Justin | Oncor | Via Teleconference |
| Lotter, Eric | GridMonitor | Via Teleconference |
| Lu, Bo | ENGIE | Via Teleconference |
| Macaraeg, Tad | Stem | Via Teleconference |
| Marshall, David | Southern Power | Via Teleconference |
| Matevosyan, Julia | ESIG | Via Teleconference |
| McClellan, Suzi | Good Company Associates | Via Teleconference |
| McDaniel Wyman, Constance | Wyman Ideas, LLC | Via Teleconference |
| Morris, Sandy | WETT | Via Teleconference |
| Naik, Harsh | Oncor | Via Teleconference |
| Orr, Rob | Lone Star Transmission | Via Teleconference |
| Pearson, Arthur | Blueprint Power | Via Teleconference |
| Penney, David | Texas RE | Via Teleconference |
| Pittman, Michael | Halff Associates | Via Teleconference |
| Preas, Dylan | LCRA TSC |  |
| Rasmussen, Erin | AEP Texas |  |
| Reed, Ronald | CNP | Via Teleconference |
| Reedy, Steve | CIM View Consulting |  |
| Ritch, John | Trafigura | Via Teleconference |
| Rochelle, Jenni | CES | Via Teleconference |
| Robertson, William | CPS Energy | Via Teleconference |
| Safko, Trevor | LCRA | Via Teleconference |
| Sams, Bryan | Calpine | Via Teleconference |
| Schwarz, Brad | Sharyland |  |
| Sersen, Julia | Baker Botts | Via Teleconference |
| Shetye, Komal | Scout Clean Energy | Via Teleconference |
| Siddiqi, Shams | Crescent Power Consulting | Via Teleconference |
| Sirhan, Andre | Oci Energy | Via Teleconference |
| Smith, Caitlin | Jupiter Power | Via Teleconference |
| Springer, Tyler | AEP | Via Teleconference |
| Stephenson, Zach | TEC | Via Teleconference |
| Tovar, Matt | Oncor | Via Teleconference |
| Townsend, Paul | Texas Competitive Power Advocates (TCPA) | Via Teleconference |
| Van Ness, Zach | Matrix Renewables | Via Teleconference |
| Vara, John | GSEC | Via Teleconference |
| Velasquez, Ivan | Oncor | Via Teleconference |
| Wagner, Julia | Public Utility Commission of Texas (PUCT) |  |
| Walker, Floyd | PUCT | Via Teleconference |
| Wilson, Joe Dan | GSEC | Via Teleconference |
| Withrow, David | AEPSC |  |
| Wittmeyer, Bob | Longhorn Power |  |
| Woods, Brad | Texas RE |  |
| Zang, Hailing | TC Energy | Via Teleconference |
| Zito, David | Gabel Associates | Via Teleconference |
| ERCOT Staff: |  |  |
| Anderson, Troy |  | Via Teleconference |
| Arth, Matt |  | Via Teleconference |
| Azeredo, Chris |  | Via Teleconference |
| Blount, Kyle |  | Via Teleconference |
| Boren, Ann |  | Via Teleconference |
| Cheng, Yong |  | Via Teleconference |
| Danielson, Christian |  | Via Teleconference |
| Devadhas Mohanadha, Thinesh |  | Via Teleconference |
| Fabricant, Samuel |  | Via Teleconference |
| Fernandes, Jenifer |  | Via Teleconference |
| Garcia, Freddy |  |  |
| Golen, Robert |  | Via Teleconference |
| Gonzalez, Ino |  | Via Teleconference |
| Gnanam, Prabhu |  |  |
| Guiyab, Rochie |  | Via Teleconference |
| Hanson, Pamela |  |  |
| Huang, Fred |  | Via Teleconference |
| Hinojosa, Luis |  | Via Teleconference |
| Kang, Sun Wook |  | Via Teleconference |
| Lee, Alex |  | Via Teleconference |
| Madam, Vamsi |  | Via Teleconference |
| Mago, Nitika |  |  |
| Miller, Megan |  |  |
| Phillips, Cory |  | Via Teleconference |
| Schmall, John |  | Via Teleconference |
| Springer, Agee |  | Via Teleconference |
| Troublefield, Jordan |  | Via Teleconference |
| Wasik-Gutierrez, Erin |  |  |
| Yan, Ping |  | Via Teleconference |
| Zhang, Jimmy |  | Via Teleconference |

Unless otherwise indicated, all Market Segments participated in the votes.

Katie Rich called the November 7, 2024 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Ms. Rich directed attention to the Antitrust Admonition, which was displayed.

Agenda Review

- Ms. Rich reviewed the agenda.

- Approval of Meeting Minutes (see Key Documents)

- October 3, 2024

Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

- Technical Advisory Committee (TAC) Update

- Ms. Rich reviewed the disposition of items considered at the October 30, 2024 TAC meeting.

- ERCOT Reports (see Key Documents)

- Operations Report

Alex Lee summarized the September 2024 Operations Report.  Luis Hinojosa stated that ERCOT's Security Constrained Economic Dispatch (SCED) system relies on accurate High Sustained Limits (HSLs) to dispatch Resources to control system balance, and ERCOT recently began experiencing sustained frequency control concerns resulting from Qualified Scheduling Entities (QSEs) telemetering incorrect HSLs for numerous Intermittent Renewable Resources (IRRs) and the IRRs not following Dispatch Instructions.  Mr. Hinojosa stated that ERCOT has sent Requests for Information (RFIs) regarding the issues and encouraged Market Participants receiving the RFIs to identify and implement corrective actions.

- System Planning Report

Ping Yan reviewed the September 2024 System Planning Report.

- Dynamics Working Group (DWG) Procedure Manual

Erin Wasik-Gutierrez presented redlines to the DWG Procedure Manual reinstating language that was inadvertently omitted from the version approved by ROS at its October 3, 2024 meeting.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

ROS Revision Requests (see Key Documents)

Impact Analysis

Planning Guide Revision Request (PGRR) 107, Related to NPRR1180, Inclusion of Forecasted Load in Planning Analyses

Market Participants reviewed the 10/16/24 Impact Analysis for PGRR107.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

PGRR118, Related to NPRR1246, Energy Storage Resource Terminology Alignment for the Single-Model Era

Nodal Operating Guide Revision Request (NOGRR) 268, Related to NPRR1246, Energy Storage Resource Terminology Alignment for the Single-Model Era

Market Participants reviewed the respective 7/31/24 Impact Analysis for PGRR118 and NOGRR268.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

Language Review

PGRR120, SSO Prevention for Generator Interconnection

Megan Miller provided an overview of PGRR120, including background on series capacitors, Subsynchronous Oscillation (SSO) definitions, and Subsynchronous Resonance (SSR) events and answered concept-related questions from participants.  Market Participants requested review of the issues by the Planning Working Group (PLWG) and Dynamics Working Group (DWG).  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

NOGRR271, Related to NPRR1257, Limit on Amount of RRS a Resource can Provide Using Primary Frequency Response

Nitika Mago provided an overview of NOGRR271 and Nodal Protocol Revision Request (NPRR) 1257, Limit on Amount of RRS a Resource can Provide Using Primary Frequency Response, and noted the Revision Requests are based on GE Vernova’s findings outlined in its report presented to ERCOT stakeholders at the April 6, 2023 workshop on Responsive Reserve (RRS) and Primary Frequency Response Limits Study.  Market Participants provided feedback on whether the limit on providing RRS be applied at the site or single Resource level, and requested review of the issues by the Performance, Disturbance, Compliance Working Group (PDCWG).  Ms. Rich noted these items could be considered for inclusion in the Combined Ballot.

NPRR1257, Limit on Amount of RRS a Resource can Provide Using Primary Frequency Response

This item was considered with the NOGRR271.

Revision Requests Tabled at PRS and Referred to ROS (see Key Documents)

NPRR1229, Real-Time Constraint Management Plan Energy Payment

NPRR1234, Interconnection Requirements for Large Loads and Modeling Standards for Loads 25 MW or Greater

ROS took no action on these items.

Revision Requests Tabled at ROS (see Key Documents)

PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions

ROS took no action on this item.

Operations Working Group (OWG) (see Key Documents)

Rickey Floyd reviewed OWG activities.

NPRR1070, Planning Criteria for GTC Exit Solutions

ROS took no action on this item.

NPRR1238, Voluntary Registration of Loads with Curtailable Load Capabilities

NOGRR265, Related to NPRR1238, Voluntary Registration of Loads with Curtailable Load Capabilities

Agee Springer indicated ERCOT is developing comments for NPRR1238 and NOGRR265 and hopes to submit them for discussion at the December 19, 2024 OWG meeting.

PLWG (see Key Documents)

Dylan Preas reviewed PLWG activities, including the North American Electric Reliability Corporation (NERC) roundtable discussions and requests for comments.

PGRR115, Related to NPRR1234, Interconnection Requirements for Large Loads and Modeling Standards for Loads 25 MW or Greater

ROS took no action on this item.

PGRR117, Addition of Resiliency Assessment and Criteria to Reflect PUCT Rule Changes

Mr. Preas stated that PLWG was in consensus to support a ROS recommendation to approve PGRR117 as amended by the 10/11/24 ERCOT comments.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

PGRR119, Stability Constraint Modeling Assumptions in the Regional Transmission Plan

ROS took no action on this item.

NPRR1247, Incorporation of Congestion Cost Savings Test in Economic Evaluation of Transmission Projects

Mr. Preas reviewed draft comments for NPRR1247 prepared at the October 29, 2024 PLWG for ROS’ consideration that, among other things, added references to the white paper “Congestion Cost Savings Test Evaluation Guideline”.  ERCOT explained it was not supportive of adding the white paper references to the Protocol language because the document would then become binding.  Certain Market Participants commented the references enhanced transparency by informing participants where to obtain information and reiterated concern that it would be difficult for participants to locate information without them.

Eithar Nashawati moved to endorse NPRR1247 as amended by the 10/23/24 ERCOT comments.  Matthew Spalek seconded the motion.  The motion carried with three objections from the Cooperative (STEC) and Independent Generator (2) (Calpine, EDF Renewables) Market Segments, and 11 abstentions from the Consumer (2) (Sierra Club, Air Liquide), Cooperative (2) (GVEC, GSEC), Independent Generator (2) (Luminant, Southern Power), Independent Power Marketer (IPM) (2) (Tenaska, SENA) and Independent Retail Electric Provider (IREP) (3) (Reliant, Rhythm Ops, Demand Control 2) Market Segments.  (Please see ballot posted with Key Documents)

Combined Ballot

Chris Koenig moved to approve the Combined Ballot as follows:

- To approve the October 3, 2024 ROS Meeting Minutes as submitted

- To approve the DWG Procedure as submitted

- To endorse and forward to TAC the 10/3/24 ROS Report and 10/16/24 Impact Analysis for PGRR107

- To endorse and forward to TAC the 10/3/24 ROS Report and 7/31/24 Impact Analysis for PGRR118

- To endorse and forward to TAC the 10/3/24 ROS Report and 7/31/24 Impact Analysis for NOGRR268

- To table PGRR120 and refer the issue to PLWG and DWG

- To table NOGRR271 and refer the issue to PDCWG

- To request PRS to table NPRR1257 for further review by PDCWG

- To recommend approval of PGRR117 as amended by the 10/11/24 ERCOT comments

Paul Person seconded the motion.  The motion carried unanimously.  (Please see ballot posted with Key Documents.)

DWG (see Key Documents)

Paul Koberlein reviewed DWG activities.

Inverter Based Resources Working Group (IBRWG) (see Key Documents)

Julia Matevosyan reviewed IBRWG activities.

Steady State Working Group (SSWG) (see Key Documents)

William Robertson reviewed SSWG activities.

Other Business

Review Open Action Items List

- ROS reviewed the items on the list and Ms. Rich noted she will report to TAC the assignment related to the September 6, 2023 Energy Emergency Alert (EEA) 2 event has been completed.

No Report

- Operations Training Working Group (OTWG)

- Black Start Working Group (BSWG)

- PDCWG

- System Protection Working Group (SPWG)

- Voltage Profile Working Group (VPWG)

Adjournment

Ms. Rich adjourned the November 7, 2024 ROS meeting at 11:56 a.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

- https://www.ercot.com/calendar/11072024-ROS-Meeting