## Slide 1: DWG Report to ROS
Paul Koberlein – DWG Chair
January 9th, 2025

## Slide 2: DWG Update
DWG WebEx meeting held on 12/11/2024
PGRR122 (Reliability Performance Criteria for Loss of Load)
  ERCOT provided background and presented on PGRR122
  DWG had concerns with current language, mostly around ownership
  Discussion will continue in next DWG meeting
PGRR121 and NOGRR272 (AGS Requirements for Inverter-Based ESRs)
  ERCOT introduced PGRR121 and NOGRR272
  DWG had a few comments and sees the need
  DWG needs more time for detailed review of requirements
  Discussion will continue in next DWG meeting

## Slide 3: DWG Update, continued
Potential PGRR for SSWG Case Security
  ERCOT presented draft language for potential PGRR
  DWG will provide feedback and looks forward to proposal
NERC 2024 Case Quality Metrics Assessment
  Texas RE presented on NERC’s assessment of Texas Interconnection cases
  For both Power Flow and Dynamics, two metrics improved, while three worsened
  NERC requested focus on three key areas
  The full assessment is available on NERC’s website

## Slide 4: DWG Update, continued
PGRR120 (SSO Prevention for Generator Interconnection)
  ERCOT presented on the background and language of PGRR120
  Some felt the option for TSP projects should exist
  DWG needs more time to discuss and will do so next DWG meeting
Potential Updates to ERCOT SSR Study Scope Guidelines
  ERCOT presented on potential updates to SSR Study scope
  DWG will review and provide comments to ERCOT
  DWG will discuss next DWG meeting

## Slide 5: DWG Update, continued
Flat Start Case Development Updates
  ERCOT provided an update on the 2024/25 Flat Start cases
  Final pass package will be posted on 1/23/2025
  Targeting DWG approval by 1/30/2025
Large Load Modeling and Stability Study Discussion
  DWG is developing a screening process for large load stability studies
  More discussion is necessary, but proposals and progress continue
  Proposals were sent out to DWG for comments
  Discussion will continue next DWG meeting
2025 DWG Meeting are posted on DWG landing page

## Slide 6: Questions or Feedback?