## Slide 1
Overview of RTC Benefit Study Results
Market Analysis
RTCBTF
January 14, 2025

## Slide 2: Agenda
Value Categories and Metrics
  Consumer Value
  Reliability Value
  Efficiency Value (currently under review)
Estimation Methodology
Results Summary

## Slide 3: 1. a) Consumer Value
* Final GTBD
** AS sub-type awarded MW weighted average
*
*
a.1 RTC RTM Energy Value Delta
  Pre-RTC:
  RTC:
  RTC Energy Value Delta:
a.2 RTC RTM Reserve (AS) Value Delta (ERCOT Approach)
  Pre-RTC Real-Time Reserve Value:
  RTC RTM AS Value: (
  RTC AS Value Delta:
a.3 RTC Reserve (AS) Value Delta (IMM 2018 Approach)
  Pre-RTC DAM AS Value:
  RTC RTM AS Value: (
  RTC AS Value Delta:
a.4 RTC RTM Average Energy Price Delta
  Pre-RTC Average Energy Price:
  RTC Average Energy Price:
  RTC Average Energy Price Delta :
a.5 RTC Average MCPC** Delta (IMM 2018 Approach)
  Pre-RTC Average MCPC:
  RTC Average AS MCPCs:
  RTC Average AS MCPC Delta :

## Slide 4: 1. b) Reliability Value
b.1 RTC RTM Congestion Rent Delta
  Pre-RTC:
  RTC: the same as
  RTC Congestion Rent Delta:
b.2 RTC RTM Constraint Violation Cost Delta
  Pre-RTC: (for violated constraint, please note that c is part of b)
  RTC: the same as
  RTC Constraint Violation Cost Delta:

## Slide 5: Sampling and Extrapolation Methodology
Generate random sample of 50 operating days between June 2023 and August 2024 (10 days per season)
Run RTC Simulator (v. 1.0, RTCBTF 10.13.2024) to compute RTM outputs for the random sample of 50 days
Calculate average value of results for each metric for the 10 days of each season
Extrapolate to seasonal estimate by multiplying with each season's total number of days (summer=92, fall=91, winter=91, and spring=92)
Aggregate the seasonal estimates to generate annual estimate for the two scenarios:
  Annual estimate with Summer 2023 = summer 2023 + fall + winter + spring
  Annual estimate with Summer 2024 = fall + winter + spring + summer 2024

## Slide 6: Estimated Annual Savings of Real Time Co-optimization (RTC) Compared to 2018 Independent Market Monitor (IMM) Report
Summer 2023
Fall 2023
Spring 2024
Summer 2024
Winter 2023-24
Annual Estimate with Summer 2023
Annual Estimate with Summer 2024
Impact Category | Annual Est. w/ Summer 2023 | Annual Est. w/ Summer 2024 | IMM report (2018)
Average ∆ Energy Price * | ($11.76) /MWh | ($6.04) /MWh | 
Average ∆ MCPC ** | ($17.34) /MW/h | ($6.89) /MW/h | 
Agg. ∆ Energy Value | ($6.0) billion | ($2.4) billion | ($1.6) billion***
Agg. ∆ AS Value (ERCOT) | $25 million | $10.2 million | 
Agg. ∆ AS Value (IMM 2018) | ($1.2) billion | ($461.8) million | ($155) million
Agg. ∆ Congestion Rent | ($408.2) million | ($147.3) million | ($257) million
Agg. ∆ Constraint Violation Value | ($10.1) million | 3.1 million | ($4.3) million
Note: * Simple average ** AS sub-type awarded MW weighted average. *** IMM 2018 Study estimate did not include ORDC adders
Study results indicate overall savings in terms of the consumer and reliability value metrics analyzed, except for the AS Value (ERCOT Approach).
The results comprising Summer 2023 show an impact that across most metrics is more than twice as large compared to the results with Summer 2024.
Direct comparisons with the IMM Report (2018) should be treated with caution due to methodological differences, but generally show, especially in terms of energy value, a more significant impact of RTC under current market conditions.

## Slide 7: Estimated Annual Savings of Real Time Co-optimization (RTC) Compared to 2018 Independent Market Monitor (IMM) Report
Summer 2023
Fall 2023
Spring 2024
Summer 2024
Winter 2023-24
Annual Estimate with Summer 2023
Annual Estimate with Summer 2024

## Slide 8: Outlook
Update estimates with efficiency value metric
  Production Cost
  AS Provision Cost
Pending the finalization of the RTC RTM market parameters, an updated version of the study is under consideration