## Slide 1
ASDCs for use in RUC Studies
Ryan King
Manager, Market Design
RTC+B Task Force
January 14, 2025

## Slide 2: Agenda
Recap: ADSCs for RUC
Review and Analysis Approach
Protocol Revisions
Next Steps

## Slide 3: Recap
Under RTC, RUC will look at the Resources planned to be available to determine whether additional Resource commitments are needed to meet the load forecast and Ancillary Service (AS) Plan, as well as resolve transmission congestion.
  RUC will use new information contained in the COP to determine how much capability for each AS product each Resource will be capable of providing
  Co-optimization will already inherently reduce the need for RUC by giving more flexibility to the RUC optimization engine
RUC is a reliability backstop that is required to meet NERC requirements and maintain reliability. Ensuring RUC can meet the full AS Plan is critical to this function.
Where RUC commits Resources to ensure sufficient capacity to meet the Load forecast and AS Plan, this will be accounted for in the SCED pricing run.
  The Reliability Deployment Price Adder process will apply to both energy and AS, and the adder for each AS product will be the positive increase in MCPC between the dispatch and pricing run

## Slide 4: Review and Analysis Approach
ERCOT conducting analysis of ASDCs to understand the level of penalty curves required to meet the Load Forecast and AS Plan
  This will include analysis of ‘Blended’ ASDC proposal by the Independent Market Monitor (IMM)
  ERCOT is utilizing the RUC-RTC application developed by its vendor in a test environment
  Objective is to determine whether ASDC penalty curve designs are sufficient to meet the Load Forecast and AS Plan or whether an adjustment is required.

## Slide 5: Review Con’d
Initial analysis is indicating that the ASDCs for RUC may be able to be similar to what will be used for DAM and SCED
  Ability to consider both energy and AS (absent the high penalty costs today) under RTC provides RUC optimization with more flexibility to allocate resource capacity
    E.g. without the high penalty cost protecting AS capacity today, the RUC optimization can select a Resource with higher commitment costs to be considered for Off-Line Non-Spin rather recommending a RUC commitment
  ERCOT is investigating whether a floor price at the ‘tail’ of the ASDC may be necessary to ensure sufficient capacity is available to meet AS Plan
    At the tail end quantity of the ASDC, the penalty prices may cause RUC optimization to run short of AS
    The ASDC design for RUC needs to ensure that sufficient capacity is available to meet AS Plan, but it should not go beyond the AS Plan (i.e., not have the tail in place for DAM and SCED)

## Slide 6: Protocol Revisions
Revisions to reflect RUC ASDCs will be made to Protocol Section 5.5.2 (2)
  Language will be derived largely from Protocol Section 4.4.12: Determination of Ancillary Service Demand Curves for the Day-Ahead Market and the Real-Time Market
  Language in this section is being updated to reflect IMM’s ASDC proposal and will be incorporate and applied in parallel to Section 5.5.2

## Slide 7: Next Steps
Provide analysis and discussion to inform a recommendation at next RTC+B Task Force meeting on 1/23