- Summary of Planning Guide Revisions

- Effective:  February 1, 2025

Section 3:

PGRR107 – Related to NPRR1180, Inclusion of Forecasted Load in Planning Analyses

This Planning Guide Revision Request (PGRR) aligns the Planning Guide with NPRR1180, Inclusion of Forecasted Load in Planning Analyses.  PGRR107 addresses recent amendments to P.U.C. Subst. R. 25.101, Certification Criteria, which became effective on December 20, 2022.  Specifically, PGRR107 incorporates the requirement in P.U.C. Subst. R. 25.101(b)(3)(A)(ii)(II) for any review of project need conducted by ERCOT to incorporate the historical load, forecasted load growth, and additional load seeking interconnection, in ERCOT’s analysis, while recognizing that ERCOT’s Regional Transmission Plan will include only that load that ERCOT has determined to be credibly supported by quantifiable evidence of load growth.  PGRR107 also requires a Regional Planning Group (RPG) project submitter to provide such information to ERCOT, when available, for inclusion in ERCOT’s planning analyses.

Revised Subsections:  3.1.2.1, 3.1.3, 3.1.4.2, and 3.1.7

PGRR116 – Related to NPRR1240, Access to Transmission Planning Information

This Planning Guide Revision Request (PGRR) reflects the current practice of posting versions of the ERCOT Long-Term System Assessment (LTSA) and correspondingly updates the chart of data sets and designated classifications in paragraph (2) of Section 7.1, Planning Data and Information.  This PGRR also moves from the Market Information System (MIS) Secure Area to the public ERCOT website, the Transmission Service Provider (TSP) Annual Planning Criteria and correspondingly updates the chart of data sets and designated classifications in paragraph (2) of Section 7.1; reflects the current practice of posting on the ERCOT website the Demand and Energy Monthly report, adding a requirement to include 15-minute interval data that is included in a version of the report currently posted on only the MIS Secure Area; and clarifies the chart of data sets and designated classifications in paragraph (2) of Section 7.1 does not constitute posting requirements.

Revised Subsection:  3.1.1.1 [effective upon system implementation of NPRR1240]

Section 4:

PGRR107 – Related to NPRR1180, Inclusion of Forecasted Load in Planning Analyses

See Section 3 above.

Revised Subsection:  4.1.1.1

PGRR116 – Related to NPRR1240, Access to Transmission Planning Information

See Section 3 above.

Revised Subsection:  4.1 [effective upon system implementation of NPRR1240]

Section 7:

PGRR116 – Related to NPRR1240, Access to Transmission Planning Information

See Section 3 above.

Revised Subsection:  7.1 [effective upon system implementation of NPRR1240]

- Administrative Changes:

- Non-substantive administrative changes were made such as spelling corrections, formatting, and correcting Section numbering and references.

Revised Subsections:  3.1.1.1, 3.1.2.1, 3.1.3 and 7.1