## Slide 1: Planning Working Group Report
to
The Reliability and Operations Subcommittee
Dylan Preas, PLWG Chair
Mina Turner, PLWG Vice-Chair
February 6, 2025

## Slide 2: PLWG Update Jan 29 Meeting
PGRR115 (related to NPRR1234) – Interconnection Requirements for Large Loads and Modeling Standards for Loads 25 MW or Greater
  PLWG reviewed recent comments from ERCOT Steel Mills (dated 12/19/24) and ERCOT (dated 01/24/25).
  Starting with ERCOT Jan 24 comments, PLWG provided desktop edits and submitted 115PGRR-19 PLWG Comments 013025 with a majority consensus.
  ERCOT Steel Mills offered language not accepted by the majority and submitted 115PGRR-18 ERCOT Steel Mills Comments 012925.
  Action: PLWG completed its work on PGRR115 and recommends that ROS consider approving this revision request.

## Slide 3: PLWG Update Jan 29 Meeting
PGRR119 – Stability Constraint Modeling Assumptions in the Regional Transmission Plan
  PLWG reviewed recent comments for Joint Commenters:
    119PGRR-07 Joint Commenters (EDF Renewables/Invenergy/Pattern Energy) Comments 012225
  Based on the discussion, PLWG reached consensus on 119PGRR-07.
  Action: PLWG completed its work on PGRR119 and recommends that ROS consider approving this revision request.

## Slide 4: PLWG Update Jan 29 Meeting
PGRR120 – SSO Prevention for Generator Interconnection
  PLWG reviewed ERCOT draft comments and AEP comments (dated 01/28/25).
  Discussion included ERCOT edits to ensure that language is explicitly applicable to Transmission Generation Resources; as well as AEP proposed language which would permit new generation resources to interconnect on a series-compensated circuit if the system is reinforced such that an N-1 contingency event will no longer cause the generation resource to become radial to a series capacitor.
  Action: PLWG tabled PGRR120 pending further discussion at its February meeting.

## Slide 5: PLWG Update Jan 29 Meeting
PGRR122 – Reliability Performance Criteria for Loss of Load
  PLWG reviewed AEP comments (dated 01/27/25).
  Discussion included the addition of the term “non-consequential Load loss” and concerns that the term does not include the loss of voltage-sensitive load. Maintenance outage events, versus two non-related (N-1) events, where load loss is 1,000 MW or more, was also discussed.
  Action: PLWG tabled PGRR122 pending further discussion at its February meeting.

## Slide 6: PLWG Update Jan 29 Meeting
Congestion Cost Savings Test White Paper
  ERCOT Planning presented that the inflation rate in the Congestion Cost Savings Test Evaluation Guideline will change from 2 percent to 2.2 percent.
  ERCOT plans to post the final document to the ERCOT Planning website soon; the new inflation rate is the only change from the draft whitepaper.

## Slide 7: PLWG Update Jan 29 Meeting
Review use of “Load” in the Planning Guide, revise as needed.
  Align the use of the terms “load” and “Load” in the Planning Guide with the defined term in Protocol Section 2.
  PLWG reviewed Planning Guide Section 4 for occurrences of “load” or “Load” and made edits to align with the defined term in Protocol Section 2.
  Edits will be posted to the PLWG events page and PLWG will continue its review in future PLWG meetings.
Open Action Item(s)

## Slide 8: Questions?