## Contents
Table of Contents
Tab | Notes
Disclaimer | Please read
Demand | Monthly peak demand data for this year and last year
Energy | Monthly energy data for this year and last year
Load Zones | Monthly peak demand and energy data for this year by load zone
Weather Zones | Monthly peak demand and energy data for this year by weather zone
Energy by Fuel Type | Actual energy and percentages by fuel type
Energy by Fuel Chart | Stacked chart of MWh by fuel type by month
Energy Comparisons | Bar graphs comparing this year's energy with last year's and with forecasted
Demand Comparisons | Graphs comparing this year's monthly peaks with last year's and with forecasted
2025-02-07 | 8:48

## Disclaimer
DEMAND AND ENERGY REPORT
For Planning Purposes Only
This ERCOT Working Paper has been prepared for specific ERCOT and market participant purposes and has been
developed from data provided through the settlement process. The data may contain errors or become obsolete
and thereby affect the conclusions and opinions of the Working Paper. ERCOT MAKES NO WARRANTY, EXPRESS
OR IMPLIED,INCLUDING ANY WARRANTY OF MERCHANTABILITY OR FITNESS FOR ANY PARTICULAR PURPOSE,
AND DISCLAIMS ANY AND ALL LIABILITY WITH RESPECT TO THE ACCURACY OF SAME OR THE FITNESS OR
APPROPRIATENESS OF SAME FOR ANY PARTICULAR USE. THIS ERCOT WORKING PAPER IS SUPPLIED WITH
ALL FAULTS.
ERCOT publishes the values in this report based on the Initial Settlement occurring approximately five days after
the Operating Day. These values are updated to reflect Final Settlements (occurring 55 days after each Operating
Day of the month), lagged by two months after the end of the month. On each tab of this spreadshet there is a
column titled "Settlement Type" indicating whether the values are based on the Initial or Final Settlement for the month.
In instances where a generator is capable of using multiple fuels, the primary fuel is used in this report.

## Demand
Demand for 2025
Net System Maximum Hourly Demand
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2025 Demand, MW | Jan: 77478.2685 | 77478.2685
Date | Jan: 01/22/2025
Hour ending | Jan: 08:00
Day of the week | Jan: Wednesday
Forecasted Demand, MW | 74424.3618 | 77156.0931 | 67470.6218 | 70458.8614 | 80785.8365 | 85792.4785 | 87532.2943 | 90472.0122 | 85344.8142 | 79892.9661 | 70694.8711 | 75774.8431 | 90472.0122
Difference, percent | Jan: 4.103% | 4.103%
2024 Demand, MW | 78349.2062 | 55859.7668 | 55305.6286 | 64003.2136 | 77138.5875 | 79697.1876 | 81045.0963 | 85245.1718 | 77812.6461 | 72549.7537 | 60174.1252 | 60235.0193 | 85245.1718
Date | 01/16/2024 | 02/19/2024 | 03/05/2024 | 04/30/2024 | 05/27/2024 | 06/30/2024 | 07/01/2024 | 08/20/2024 | 09/19/2024 | 10/03/2024 | 11/04/2024 | 12/11/2024
Hour ending | 08:00 | 08:00 | 17:00 | 18:00 | 17:00 | 18:00 | 18:00 | 18:00 | 17:00 | 17:00 | 14:00 | 08:00
Day of the week | Tuesday | Monday | Tuesday | Tuesday | Monday | Sunday | Monday | Tuesday | Thursday | Thursday | Monday | Wednesday
Increase, MW | Jan: -870.9377
Increase, percent | Jan: -1.112%
Max All Time, MW | 78349.2062 | 69811.9544 | 60756.4143 | 64003.2136 | 77138.5875 | 80825.6176 | 82964.0895 | 85508.4518 | 84470.1018 | 72549.7537 | 60174.1252 | 74524.9021
Date | 01/16/2024 at 08:00 | 02/14/2021 at 20:00 | 03/05/2019 at 08:00 | 04/30/2024 at 18:00 | 05/27/2024 at 17:00 | 06/27/2023 at 18:00 | 07/31/2023 at 17:00 | 08/10/2023 at 18:00 | 09/08/2023 at 17:00 | 10/03/2024 at 17:00 | 11/04/2024 at 14:00 | 12/23/2022 at 08:00
Net System Maximum Demand based on 15-Minute Intervals
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2025 Demand, MW | Jan: 77624.9078 | 77624.9078
Date | Jan: 01/22/2025
Interval ending | Jan: 07:45
Day of the week | Jan: Wednesday
Max All Time, MW | 78531.9136 | 69993.566 | 61563.6014 | 64276.086 | 77199.8094 | 81017.5983 | 83032.4767 | 85636.8846 | 84540.2922 | 72667.3783 | 60311.6046 | 74628.9366
Date | 01/16/2024 at 07:45 | 02/14/2021 at 19:00 | 03/05/2019 at 07:15 | 04/30/2024 at 17:00 | 05/27/2024 at 16:45 | 06/27/2023 at 17:00 | 07/31/2023 at 17:00 | 08/10/2023 at 17:00 | 09/08/2023 at 16:45 | 10/03/2024 at 16:45 | 11/04/2024 at 14:30 | 12/23/2022 at 08:00
Net System Minimum Demand
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
2025 Demand, MW | Jan: 38820.308
Date | Jan: 01/05/2025
Interval ending | Jan: 05:00
Day of the week | Jan: Sunday
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Energy
Energy for 2025
Net Energy for Load
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2025 Energy, MWh | Jan: 40481518.0449 | 40481518.0449
2025 YTD Energy, MWh | Jan: 40481518.0449
Forecasted Energy, MWh | 43619879.143 | 38813539.441 | 40699904.659 | 40139803.481 | 45411816.329 | 50094642.928 | 53642903.251 | 54303418.934 | 47761795.829 | 45184503.53 | 41724563.911 | 45233713.067 | 546630484.503
Difference, percent | Jan: -7.195% | -7.195%
YTD Forecasted Energy, MWh | 43619879.143 | 82433418.584 | 123133323.243 | 163273126.724 | 208684943.053 | 258779585.981 | 312422489.232 | 366725908.166 | 414487703.995 | 459672207.525 | 501396771.436 | 546630484.503
YTD Difference, percent | Jan: -7.195%
2024 Energy, MWh | 38184181.006 | 30628455.2518 | 32205070.4062 | 33462691.8967 | 39973544.0269 | 44374813.7807 | 44556097.443 | 49282922.5869 | 41002544.4307 | 39228005.3317 | 33761214.1942 | 34890418.8831 | 461549959.2379
Increase, MWh | Jan: 2297337.0389 | 2297337.0389
Increase, percent | Jan: 6.017% | 6.017%
2024 YTD Energy, MWh | 38184181.006 | 68812636.2578 | 101017706.664 | 134480398.5607 | 174453942.5876 | 218828756.3684 | 263384853.8113 | 312667776.3982 | 353670320.8289 | 392898326.1606 | 426659540.3548 | 461545518.8923
Increase, MWh | Jan: 2297337.0389
Increase, percent | Jan: 6.017%
Net System Load Factors based on Hourly Demand
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
Demand Factors 2025 | Jan: 70.23% | 70.23%
Demand Factors 2024 | 65.51% | 78.78% | 78.37% | 72.61% | 69.65% | 77.33% | 73.89% | 77.71% | 73.19% | 72.68% | 77.82% | 77.85% | 61.64%
Net System Load Factors based on 15-Minute Demand
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
Demand Factors 2025 | Jan: 70.09% | 70.09%
* Information for this month has been updated based on final settlements.

## Load Zones
Demand and Energy by Load Settlement Zone for 2025
Based on 15-minute Intervals
Net Zone Demand Coincident with ERCOT System Peak, MW
Settlement Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
LZ_AEN | Jan: 2513.5346
LZ_CPS | Jan: 5103.3822
LZ_HOUSTON | Jan: 16980.5073
LZ_LCRA | Jan: 2977.7072
LZ_NORTH | Jan: 26567.6251
LZ_RAYBN | Jan: 1418.2914
LZ_SOUTH | Jan: 11810.7519
LZ_WEST | Jan: 10253.1081
Net Zone Non-Coincident Peak Demand, MW
Settlement Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
LZ_AEN | Jan: 2513.5346
Date and Time | Jan: 22 @ 07:45
LZ_CPS | Jan: 5115.5204
Date and Time | Jan: 22 @ 07:30
LZ_HOUSTON | Jan: 16980.5073
Date and Time | Jan: 22 @ 07:45
LZ_LCRA | Jan: 3746.1903
Date and Time | Jan: 20 @ 08:00
LZ_NORTH | Jan: 30973.9286
Date and Time | Jan: 22 @ 08:00
LZ_RAYBN | Jan: 1439.1205
Date and Time | Jan: 22 @ 07:15
LZ_SOUTH | Jan: 11810.7519
Date and Time | Jan: 22 @ 07:45
LZ_WEST | Jan: 10785.6012
Date and Time | Jan: 6 @ 08:15
Net Energy for Load, MWh
Settlement Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
LZ_AEN | Jan: 1217265.7143
LZ_CPS | Jan: 2264608.2325
LZ_HOUSTON | Jan: 9232813.6674
LZ_LCRA | Jan: 1580246.8143
LZ_NORTH | Jan: 13012161.8213
LZ_RAYBN | Jan: 623875.0022
LZ_SOUTH | Jan: 5380090.004
LZ_WEST | Jan: 7170456.7888
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Weather Zones
Demand and Energy by Weather Zone for 2025
Based on 15-minute Intervals
Net Zone Demand Coincident with ERCOT System Peak, MW
Weather Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
COAST | Jan: 18179.5737
EAST | Jan: 3288.7596
FWEST | Jan: 7263.1079
NCENT | Jan: 24247.397
NORTH | Jan: 2214.6535
SCENT | Jan: 13153.8747
SOUTH | Jan: 7346.5287
WEST | Jan: 1931.0128
Net Zone Non-Coincident Peak Demand, MW
Weather Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
COAST | Jan: 18179.5737
Date and Time | Jan: 22 @ 07:45
EAST | Jan: 3303.9156
Date and Time | Jan: 22 @ 07:15
FWEST | Jan: 7901.9748
Date and Time | Jan: 6 @ 08:30
NCENT | Jan: 29032.5265
Date and Time | Jan: 22 @ 08:00
NORTH | Jan: 2220.5743
Date and Time | Jan: 22 @ 07:30
SCENT | Jan: 13412.5306
Date and Time | Jan: 20 @ 08:00
SOUTH | Jan: 7346.5287
Date and Time | Jan: 22 @ 07:45
WEST | Jan: 1968.2742
Date and Time | Jan: 24 @ 07:30
Net Zone Energy, MWh
Weather Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
COAST | Jan: 9882182.8519
EAST | Jan: 1483592.6261
FWEST | Jan: 5416843.2387
NCENT | Jan: 11917237.2612
NORTH | Jan: 1272193.2653
SCENT | Jan: 6428145.2516
SOUTH | Jan: 3031347.4543
WEST | Jan: 1049976.0958
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Energy by Fuel Type
Energy by Fuel Type for 2025
Energy by Fuel Type, MWh
Fuel Types | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | YTD/Annual
Biomass | Jan: 35426.0788 | 35426.0788
Coal | Jan: 6520660.7079 | 6520660.7079
Gas | Jan: 2816632.9293 | 2816632.9293
Gas-CC | Jan: 14469519.685 | 14469519.685
Hydro | Jan: 39554.4182 | 39554.4182
Net DC/BLT | Jan: -23703.5385 | -23703.5385
Nuclear | Jan: 3798721.0297 | 3798721.0297
Other | Jan: 365069.3257 | 365069.3257
Solar | Jan: 3339096.0115 | 3339096.0115
WSL | Jan: -437819.6008 | -437819.6008
Wind | Jan: 9558360.9979 | 9558360.9979
Total | Jan: 40481518.0449 | 40481518.0449
Energy by Fuel Type, Percent
Fuel Types | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | YTD/Annual
Biomass | Jan: 0.0875% | 0.0875%
Coal | Jan: 16.11% | 16.11%
Gas | Jan: 6.958% | 6.958%
Gas-CC | Jan: 35.74% | 35.74%
Hydro | Jan: 0.0977% | 0.0977%
Net DC/BLT | Jan: -0.0586% | -0.0586%
Nuclear | Jan: 9.384% | 9.384%
Other | Jan: 0.9018% | 0.9018%
Solar | Jan: 8.248% | 8.248%
WSL | Jan: -1.081% | -1.081%
Wind | Jan: 23.61% | 23.61%
Total | Jan: 100% | 100%
* Information for this month has been updated based on final settlements.
Companies are not required to notify ERCOT when their dual fuel units are using secondary fuel. Therefore, values shown here are calculated based on primary fuel type and may not exactly reflect the fuels being used by dual
fuel units. Dual fuel units are included in the category of their primary fuel.
A positive value in the 'Net DC/BLT' row indicates import of power, negative indicates export.
Other includes petroleum coke, distillate fuel oil, and any other or unknown fuel.

## Energy by Fuel Chart
Fuel Types | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Biomass | Jan: 35.4261
Coal | Jan: 6520.6607
Gas | Jan: 2816.6329
Gas-CC | Jan: 14469.5197
Hydro | Jan: 39.5544
Net DC/BLT | Jan: -23.7035
Nuclear | Jan: 3798.721
Other | Jan: 365.0693
Solar | Jan: 3339.096
WSL | Jan: -437.8196
Wind | Jan: 9558.361
* Information for this month has been updated based on final settlements.
* Chart excludes Wholesale Storage Load and Net DC/BLT because these resource categories can have negative values.

## data_Energy by Fuel Chart_1 (hidden)
| Nuclear | Coal | Wind | Solar | Hydro | Biomass | Other | Gas-CC | Gas
Jan | 3799 | 6521 | 9558 | 3339 | 40 | 35 | 365 | 14470 | 2817
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec

## Energy Comparisons
* Information for this month has been updated based on final settlements.
* Information for this month has been updated based on final settlements.

## data_Energy Comparisons_1 (hidden)
| 2024 Actual | 2025 Actual
Jan | 38184 | 40482
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec

## data_Energy Comparisons_2 (hidden)
| 2025 Forecast | 2025 Actual
Jan | 43620 | 40482
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec

## Demand Comparisons
* Information for this month has been updated based on final settlements.
Information is based on Hourly Intervals.
* Information for this month has been updated based on final settlements.
Information is based on Hourly Intervals.

## data_Demand Comparisons_1 (hidden)
| 2024 Actual | 2025 Actual
Jan | 78349 | 77478
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec

## data_Demand Comparisons_2 (hidden)
| 2025 Forecast | 2025 Actual
Jan | 74424 | 77478
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec