## Report Info
Transmission Service Provider (TSP)
Annual Report for Unregistered Distributed Generator (UDG) Report*
in accordance with NPSection 3.2.5.1
ENTER COMPANY NAME HERE
For the Twelve Months Ending
December 31, Enter Reporting Year
* UDG information only (exclusively to Unregistered Distributed Generators (UDG) and do not include any data related to Settlement-Only Distributed Generators (SODG), Distributed Generation Resources (DGR), or Distributed Energy Storage Resources (DESR).)
3.2.5.1
(1) As a condition for approval of the interconnection of an Unregistered Distributed Generator (UDG) to a distribution system, the Entity that owns the UDG shall provide the following information to the interconnecting Distribution Service Provider (DSP):
(a) Fuel Type (Solar, Wind, Natural Gas, Diesel, Energy Storage, etc);
(b) Aggregate Nameplate capacity in MW (by fuel type);
(c) Energy storage capacity in MWh (energy storage only);
(d) Aggregate Reactive power capability;
(e) Status of compliance with any PUC voltage ride-though requirements; and
(f) Status of compliance with any PUC frequency ride-through requirements.
(2) By January 15 of each year, ERCOT will generate and post to MIS Certified Area a single file containing pre-populated fields for each TSP reflecting TSP-specific associated Loads, by substation, contained in the Network Operations Model. The file will include the aggregate amount of UDG, if any, that the Network Operations Model reflects being impacted by UFLS or UVLS.

## Column Description
Column Name | Description
TSP Name | Name of the Transmission Service Provider (TSP) associated with the Unregistered Distributed Generator (UDG)
Substation Name | Name of the Substation connected to the UDG
Load Name | Name of the Load associated with the UDG
Tr Load Voltage | Transmission Load Voltage - High Voltage side of Load Transformer
RDFID | Resource Designation File ID
CIM Load PSSE Bus | The Power System Simulator for Engineering (PSSE) bus ID associated with the load in the CIM model
Load PSSE ID | Unique identifier for the load in the PSSE model
UDG Fuel Type | The type of fuel used by the Unregistered Distributed Generator (e.g., solar, wind, gas)
Agg. MW | Aggregated Generation Capacity in megawatts (MW)
Energy Storage Capacity | Energy Storage Capacity in megawatt-hours (MWh)
Agg Reactive MVAr | Aggregated Reactive Power Capacity in megavolt-amperes reactive (MVAr)
Pre IEEE1547-2018 | Indicates compliance with the pre-IEEE 1547-2018 standard for interconnection and performance
UFLS Threshold (Hz) | Under-Frequency Load Shedding (UFLS) threshold in hertz (Hz)
UFLS Pickup Delay (s) | Delay in seconds before UFLS action is initiated
UVLS Threshold (pu) | Under-Voltage Load Shedding (UVLS) threshold in per unit (pu)
UVLS Pickup Delay (s) | Delay in seconds before UVLS action is initiated

## Prepolulated UDG Extract
Prepopulated | [6 empty] | To be Filled By TSP
TSP Name | Substation Name | Load Name | Tr Load Voltage | RDFID | CIM Load PSSE Bus | Load PSSE ID | UDG Fuel Type | Agg MW | Energy storage capacity in MWh | Agg Reactive MVAr | Pre IEEE1547-2018 | UFLS Threshold (Hz) | UFLS pickup delay (s) | UVLS Threshold (pu) | UVLS pickup delay (s)
TSP1 | Station1 | LDLXFMR2 | 138 | a762c2fe-65a1-4d2f-ac01-a34e0cc69524 | 3200 | 1
TSP2 | Station1 | LOAD1 | 69 | 8a2403f7-fc0b-44ba-a2c8-821ab29259eb | 6000 | 1
TSP3 | Station2 | LDLXFMR1 | 138 | 5e3cc2f7-e2eb-45e9-b356-2463b713cdff | 1500 | 1
TSP4 | Station3 | TR4 | 69 | a909bae5-d2c3-4e67-948b-cb40c0b07c32 | 13213 | 1
TSP5 | Station4 | XFMR1 | 69 | 2456a94c-7278-4723-96e7-500da1ee3a76 | 555 | 1
TSP6 | Station5 | XFMR2 | 69 | 402416ce-8500-4b1d-9361-9c5e5a638c40 | 121 | 1
There will be a row for each load in the ERCOT model

## UDG Report w Example Submision
Prepopulated | [6 empty] | To be Filled By TSP
TSP Name | Substation Name | Load Name | Tr Load Voltage | RDFID | CIM Load PSSE Bus | Load PSSE ID | UDG Fuel Type | Agg MW | Energy storage capacity in MWh | Agg Reactive MVAr | Pre IEEE1547-2018 | UFLS Threshold (Hz) | UFLS pickup delay (s) | UVLS Threshold (pu) | UVLS pickup delay (s)
TSP1 | Station1 | LDLXFMR2 | 138 | a762c2fe-65a1-4d2f-ac01-a34e0cc69524 | 3200 | 1 | Natural Gas | 5 |  | 3 | Yes | 59.3 | 1 | NA | NA
TSP1 | Station1 | LDLXFMR2 | 138 | a762c2fe-65a1-4d2f-ac01-a34e0cc69524 | 3200 | 1 | Natural Gas | 5 |  | 3 | No | 59.3 | 1 | NA | NA
TSP1 | Station1 | LDLXFMR2 | 138 | a762c2fe-65a1-4d2f-ac01-a34e0cc69524 | 3200 | 1 | Water | 2 |  | 0.1 | No | NA | NA | 0.9 | 3
TSP1 | Station1 | LDLXFMR2 | 138 | a762c2fe-65a1-4d2f-ac01-a34e0cc69524 | 3200 | 1 | Distillate Fuel Oil | 3 |  | 0.2 | No | 59.3 | 1 | 0.9 | 3
TSP2 | Station1 | LOAD1 | 69 | 8a2403f7-fc0b-44ba-a2c8-821ab29259eb | 6000 | 1 | Water | 10 |  | 3 | No | 59.1 | 1 | 0.9 | 3
TSP3 | Station2 | LDLXFMR1 | 138 | 5e3cc2f7-e2eb-45e9-b356-2463b713cdff | 1500 | 1 | Natural Gas | 10 |  | 3 | No | NA | NA | 0.9 | 3
TSP4 | Station3 | TR4 | 69 | a909bae5-d2c3-4e67-948b-cb40c0b07c32 | 13213 | 1 | Diesel | 10 |  | 3 | No | 58.9 | 0.5 | NA | NA
TSP5 | Station4 | XFMR1 | 69 | 2456a94c-7278-4723-96e7-500da1ee3a76 | 555 | 1 | Batteries | 10 | 20 | 3 | Yes | 58.7 | 0.5 | NA | NA
TSP6 | Station5 | XFMR2 | 69 | 402416ce-8500-4b1d-9361-9c5e5a638c40 | 121 | 1 | Batteries | 10 | 20 | 3 | No | NA | NA | 0.9 | 3
TSP6 | Station5 | XFMR2 | 69 | 402416ce-8500-4b1d-9361-9c5e5a638c40 | 121 | 1 | Other (batteries, chemicals, hydrogen pitch sulfur, misc technologies) | 10 |  | 3 | No | NA | NA | 0.9 | 3
There can be more than one row for each load in the ERCOT model

## 2nd year ERCOT posted file
Prepopulated | [6 empty] | To be Filled By TSP
TSP Name | Substation Name | Load Name | Tr Load Voltage | RDFID | CIM Load PSSE Bus | Load PSSE ID | UDG Fuel Type | Agg MW | Energy storage capacity in MWh | Agg Reactive MVAr | Pre IEEE1547-2018 | UFLS Threshold (Hz) | UFLS pickup delay (s) | UVLS Threshold (pu) | UVLS pickup delay (s)
TSP1 | Station1 | LDLXFMR2 | 138 | a762c2fe-65a1-4d2f-ac01-a34e0cc69524 | 3200 | 1 | Natural Gas | 5 |  | 3 | Yes | 59.3 | 1 | NA | NA
TSP1 | Station1 | LDLXFMR2 | 138 | a762c2fe-65a1-4d2f-ac01-a34e0cc69524 | 3200 | 1 | Natural Gas | 5 |  | 3 | No | 59.3 | 1 | NA | NA
TSP1 | Station1 | LDLXFMR2 | 138 | a762c2fe-65a1-4d2f-ac01-a34e0cc69524 | 3200 | 1 | Water | 2 |  | 0.1 | No | NA | NA | 0.9 | 3
TSP1 | Station1 | LDLXFMR2 | 138 | a762c2fe-65a1-4d2f-ac01-a34e0cc69524 | 3200 | 1 | Distillate Fuel Oil | 3 |  | 0.2 | No | 59.3 | 1 | 0.9 | 3
TSP2 | Station1 | LOAD1 | 69 | 8a2403f7-fc0b-44ba-a2c8-821ab29259eb | 6000 | 1 | Water | 10 |  | 3 | No | 59.1 | 1 | 0.9 | 3
TSP3 | Station2 | LDLXFMR1 | 138 | 5e3cc2f7-e2eb-45e9-b356-2463b713cdff | 1500 | 1 | Natural Gas | 10 |  | 3 | No | NA | NA | 0.9 | 3
TSP4 | Station3 | TR4 | 69 | a909bae5-d2c3-4e67-948b-cb40c0b07c32 | 13213 | 1 | Diesel | 10 |  | 3 | No | 58.9 | 0.5 | NA | NA
TSP5 | Station4 | XFMR1 | 69 | 2456a94c-7278-4723-96e7-500da1ee3a76 | 555 | 1 | Batteries | 10 | 20 | 3 | Yes | 58.7 | 0.5 | NA | NA
TSP6 | Station5 | XFMR2 | 69 | 402416ce-8500-4b1d-9361-9c5e5a638c40 | 121 | 1 | Batteries | 10 | 20 | 3 | No | NA | NA | 0.9 | 3
TSP6 | Station5 | XFMR2 | 69 | 402416ce-8500-4b1d-9361-9c5e5a638c40 | 121 | 1 | Other (batteries, chemicals, hydrogen pitch sulfur, misc technologies) | 10 |  | 3 | No | NA | NA | 0.9 | 3
New Load added between year 1 and Year 2
TSP1 | Station7 | XFMR1 | 69 | 402416ce-8500-4b1d-9361-9c5e5a638c44 | 125 | 1
ERCOT will populate the subsequent years' UDG extract with information provided by TSPs. New loads will be listed without any UDG information