Date:			February 27, 2025

To:			Technical Advisory Committee (TAC) Representatives

From:			Diana Coleman, Protocol Revision Subcommittee (PRS) Chair

Subject: 		Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following NPRR(s) recommended for approval by PRS: - NPRR1241, Firm Fuel Supply Service (FFSS) Availability and Hourly Standby Fee [Luminant]

##### Background/History: Unless otherwise noted: (i) all Market Segments participated in each vote and (ii) for NPRRs, ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed the NPRR and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR1241, Firm Fuel Supply Service (FFSS) Availability and Hourly Standby Fee Sponsor: Luminant Proposed Effective Date: The first of the month following Public Utility Council of Texas (PUCT) approval Estimated Impacts: No impact Revision Description: This NPRR provides equity and clarity surrounding the hourly standby fee claw backs for Firm Fuel Supply Service (FFSS) during a Watch for winter weather using a linear curve formula. PRS Decision: On 1/15/25, PRS voted to recommend approval of NPRR1241 as amended by the 12/3/24 Luminant comments. There was one abstention from the Consumer (Occidental) Market Segment. On 2/12/25, PRS voted unanimously to endorse and forward to TAC the 1/15/25 PRS Report and 1/28/25 Impact Analysis for NPRR1241. Revision Requests Rejected None Revision Requests Withdrawn None Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at PRS - NPRR1226, Demand Response Monitor [ERCOT Steel Mills] - NPRR1234, Interconnection Requirements for Large Loads and Modeling Standards for Loads 25 MW or Greater [ERCOT] - NPRR1256, Settlement of MRA of ESRs [ERCOT] - SCR829, API for the NDCRC Application [Joint Sponsors] - SCR830, Expose Limited API Endpoints Using Machine-to-Machine Authentication [AEP] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR956, Designation of Providers of Transmission Additions [ERCOT] - NPRR1070, Planning Criteria for GTC Exit Solutions [EDF Renewables / Pattern Energy] - NPRR1202, Refundable Deposits for Large Load Interconnection Studies [Lancium] - NPRR1214, Reliability Deployment Price Adder Fix to Provide Locational Price Signals, Reduce Uplift and Risk [Joint Sponsors] - NPRR1229, Real-Time Constraint Management Plan Energy Payment [STEC] - NPRR1235, Dispatchable Reliability Reserve Service as a Stand-Alone Ancillary Service [ERCOT] - NPRR1238, Voluntary Registration of Loads with Curtailable Load Capabilities [GSEC] - NPRR1255, Introduction of Mitigation of ESRs [ERCOT] - NPRR1262, Ancillary Service Opt Out Clarification [Cholla Petroleum] - NPRR1263, Remove Accuracy Testing Requirements for CCVTs [WETT] - NPRR1264, Creation of a New Energy Attribute Certificate Program [TEBA] - NPRR1265, Unregistered Distributed Generator [ERCOT] - NPRR1266, Opt-Out Status Held by a Transmission-Voltage Customer Cannot be Transferred [ERCOT] - NPRR1267, Large Load Interconnection Status Report [Joint Sponsors] - NPRR1268, RTC – Modification of Ancillary Service Demand Curves [IMM] - NPRR1269, RTC+B Three Parameters Policy Issues [ERCOT] - NPRR1270, Additional Revisions Required for Implementation of RTC [ERCOT] - NPRR1271, Revision to User Security Administrator and Digital Certificates Opt-out Eligibility [ERCOT] - SCR826, ERCOT.com Enhancements [Residential Consumer] - SCR827, Grid Conditions Graph Addition for Operating Reserve Demand Curve (ORDC) Level [ACES] - SCR831, Short Circuit Model Integration [ERCOT] New Revision Requests Scheduled for Consideration at PRS - NPRR1273, Appropriate Accounting for ESRs in PRC Calculation [ERCOT] These Revision Requests and supporting materials are posted on the ERCOT website at the following link: http://www.ercot.com/mktrules/issues/nprr https://www.ercot.com/mktrules/issues/scr