## Slide 1
ERCOT Updates
NDSWG February 2025

## Slide 2: Topics
NPRR 1265 - Unregistered Distributed Generator
  DG reporting under HB 3390
NPRR 1234 - Interconnection Requirements for Large Loads and Modeling Standards for Loads 25 MW or Greater
  Review Comments.
Annual Double Circuit Review
  Kickoff email will be sent by early March.
EPS Meter Design Proposal

## Slide 3: EPS Design Meter Proposal
EPS Meter Design Proposal will be part of the technical documentation that is required to be submitted to ERCOT for modeling per Nodal Protocol (NP) 3.10.1 and is subject to the modeling timeline in NP 3.10.1 (3).
  EPS Meter Design Proposal is required to be submitted to ERCOT metering prior to approval of the Resource Registration Data for full registration.
  EPS Meter Design Proposal will be required for projects planning to meet July 2nd,2025 PLD but recommended for June 4th,2025 PLD to avoid delays.