## Slide 1: Planning Working Group Update
to
The Reliability and Operations Subcommittee
Mina Turner, PLWG Chair
Kristin Cook, PLWG Vice-Chair
March 6th 2025

## Slide 2: PLWG Update March 6th 2025, Meeting
PGRR 120 - SSO Prevention for Generator Interconnection
  Lone Star and Splight reviewed submitted comments.
  ERCOT will submit comments prior to the March PLWG meeting.
  PLWG agreed to table PGRR120 for further discussion.
PGRR 122 - Reliability Performance Criteria for Loss of Load
  LCRA reviewed submitted comments.
  ERCOT to review and provide comments for the March PLWG meeting.
  PLWG agreed to table PGRR122 for further discussion.

## Slide 3: PLWG Update March 6th 2025, Meeting
NPRR 1272- Voltage Support at Private Use Networks
  Occidental reviewed proposal to clarify language in the current protocols.
  ERCOT remains neutral on the interpretation of the current protocols and proposal.
  ERCOT will take back proposal and may give presentation on the current rules at the March PLWG meeting.
  PLWG agreed to table NPRR 1272 for further discussion.
Addition of Generation to the Planning Models
  ERCOT presented proposed changes to the methodology for adding new generation to the RTP planning model to meet shortfalls due to HB 5066 and load growth.
  ERCOT will bring language for consideration in a couple of months.

## Slide 4: PLWG Update March 6th 2025, Meeting
Other Business
  CenterPoint brought up concern regarding BESS charging during peak hours and operational concerns in real-time.
  Anticipate conversation will continue at next month’s PLWG meeting.

## Slide 5: Questions?