## Slide 1: SSWG Report to ROS
March 6, 2025
Chair: Zach Walker (Zachary.Walker2@oncor.com)
Vice Chair: Chris Ramirez (cramirez@wettllc.com)

## Slide 2: SSWG Updates
Schedule & Key Dates
25SSWG TPIT Update # 1
  Posted to MIS 1/31/25
  Next TPIT Update: 5/23/25
25SSWG Case Build #1
  Currently Ongoing
  Load & Topology Deadline: 3/28/25
  Target Posting: 5/23/25
Upcoming Training
  SSWG Tuning Training: 3/20/25
SSWG Report to ROS External

## Slide 3: SSWG Updates
Meeting Updates
Potential SSWG Procedure Manual (PM) Revisions
  Minor language edits & additions
  Potential reevaluation of extraordinary dispatch methodology
  Discussion still ongoing
NERC 2024 Case Quality Metrics Assessment
  Texas Reliability Entity (TRE) presented on results for Texas Interconnection
  Multiple metrics are showing an increase in performance
  Suggested focus on 3 areas for Powerflow modeling:
    Voltage Schedule Conflicts
    Generator Reactive Limits
    Generator Reactive Limit Power factor
  Full report can be found on NERC website
SSWG Report to ROS External
https://www.nerc.com/pa/RAPA/ModelAssessment/ModAssessments/2024_Case_Quality_Metrics_Assessment_finaldraft.pdf