| PGRR Number | 119 | PGRR Title | Stability Constraint Modeling Assumptions in the Regional Transmission Plan |
| --- | --- | --- | --- |

| Date | November 6, 2024 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Eric Goff; Nabaraj Pokharel |
| E-mail Address | eric@goffpolicy.com; Nabaraj.Pokharel@opuc.texas.gov |
| Company | Office of Public Utility Counsel |
| Phone Number |  |
| Cell Number | 512-632-7013 / 512-825-7656 |
| Market Segment | Residential Consumer |

Comments

OPUC supports ERCOT’s need to effectively plan for managing Interconnection Reliability Operating Limits (IROLs).  However, the proposed “reliability margin” is undefined and could have a significant cost impact.  We request ERCOT provide additional comments to further amend Section 3.1.4.1.1, Regional Transmission Plan Cases, that clarify how it will develop the size of any proposed reliability margin for an IROL.

Revised Cover Page Language

None

Revised Proposed Guide Language

None