## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for February 2025

## Slide 2: Non-IRR GREDP < 85% – February 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 414 | 667 | 785 | 1.49 | 84.97
Unit 501 | 58 | 71 | 0.39 | 81.69

## Slide 3: IRR Summary – February 2025
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 87.04 | 74.89 | 82.58
GREDP Median (%) | 95.49 | 86.42 | 90.48
Average MW Error | 5.19 | 5.31 | 5.51
Median MW Error | 4.80 | 4.88 | 5.23
Total Intervals Scored | 92,985 | 44,639 | 42,444
100+ Intervals Scored | 175 | 222 | 91
Total Intervals Scored Average | 233.05 | 297.59 | 466.42

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – February 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 2 | 2,114 | 2,188 | 2.93 | 96.62
Unit 3 | 2,091 | 2,162 | 1.40 | 96.72
Unit 7 | 1,663 | 1,703 | 7.87 | 97.65
Unit 10 | 1,440 | 1,448 | 4.90 | 99.45
Unit 11 | 1,404 | 1,412 | 4.80 | 99.43
Unit 12 | 1,377 | 1,405 | 2.64 | 98.01
Unit 14 | 1,362 | 1,366 | 2.15 | 99.71
Unit 15 | 1,346 | 1,365 | 8.27 | 98.61
Unit 16 | 1,288 | 1,296 | 2.62 | 99.38
Unit 17 | 1,285 | 1,286 | 2.83 | 99.92
Unit 19 | 1,128 | 1,152 | 3.59 | 97.92
Unit 21 | 1,091 | 1,125 | 7.66 | 96.98
Unit 23 | 989 | 1,002 | 3.86 | 98.70
Unit 24 | 967 | 986 | 2.90 | 98.07
Unit 25 | 975 | 985 | 2.56 | 98.98
Unit 26 | 951 | 976 | 3.15 | 97.44
Unit 28 | 904 | 920 | 3.35 | 98.26
Unit 31 | 840 | 847 | 8.76 | 99.17
Unit 33 | 799 | 831 | 8.24 | 96.15

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – February 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 34 | 787 | 809 | 2.66 | 97.28
Unit 35 | 781 | 800 | 2.60 | 97.63
Unit 36 | 783 | 791 | 3.08 | 98.99
Unit 37 | 768 | 780 | 2.73 | 98.46
Unit 38 | 757 | 767 | 7.65 | 98.70
Unit 40 | 705 | 730 | 4.90 | 96.58
Unit 41 | 706 | 722 | 0.92 | 97.78
Unit 42 | 666 | 675 | 8.97 | 98.67
Unit 43 | 633 | 643 | 3.25 | 98.44
Unit 44 | 611 | 637 | 7.56 | 95.92
Unit 45 | 620 | 627 | 3.68 | 98.88
Unit 55 | 498 | 498 | 2.98 | 100.00
Unit 61 | 429 | 435 | 8.90 | 98.62
Unit 63 | 414 | 429 | 9.32 | 96.50
Unit 64 | 405 | 422 | 5.83 | 95.97
Unit 68 | 395 | 402 | 5.61 | 98.26
Unit 71 | 378 | 383 | 6.24 | 98.69
Unit 72 | 354 | 372 | 0.56 | 95.16
Unit 75 | 354 | 359 | 2.05 | 98.61

## Slide 6: IRR ≥ 95%, ≥ 100 Scored Intervals – February 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 76 | 344 | 351 | 5.86 | 98.01
Unit 81 | 313 | 320 | 0.93 | 97.81
Unit 85 | 298 | 312 | 2.17 | 95.51
Unit 87 | 312 | 312 | 2.18 | 100.00
Unit 92 | 297 | 306 | 4.86 | 97.06
Unit 95 | 290 | 295 | 4.99 | 98.31
Unit 96 | 287 | 287 | 3.61 | 100.00
Unit 98 | 269 | 280 | 1.80 | 96.07
Unit 105 | 263 | 270 | 7.88 | 97.41
Unit 107 | 254 | 266 | 14.77 | 95.49
Unit 109 | 258 | 265 | 7.42 | 97.36
Unit 112 | 247 | 254 | 1.65 | 97.24
Unit 113 | 243 | 253 | 2.55 | 96.05
Unit 116 | 226 | 237 | 1.61 | 95.36
Unit 118 | 231 | 233 | 3.53 | 99.14
Unit 119 | 218 | 224 | 8.05 | 97.32
Unit 121 | 212 | 214 | 3.56 | 99.07
Unit 123 | 203 | 204 | 1.65 | 99.51
Unit 125 | 198 | 200 | 4.67 | 99.00

## Slide 7: IRR ≥ 95%, ≥ 100 Scored Intervals – February 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 126 | 198 | 200 | 5.24 | 99.00
Unit 127 | 200 | 200 | 5.57 | 100.00
Unit 131 | 181 | 185 | 3.82 | 97.84
Unit 133 | 165 | 173 | 4.07 | 95.38
Unit 136 | 159 | 162 | 1.82 | 98.15
Unit 138 | 158 | 162 | 5.45 | 97.53
Unit 139 | 155 | 157 | 5.10 | 98.73
Unit 143 | 148 | 148 | 6.30 | 100.00
Unit 144 | 148 | 148 | 5.30 | 100.00
Unit 145 | 147 | 147 | 3.19 | 100.00
Unit 146 | 146 | 147 | 6.99 | 99.32
Unit 147 | 143 | 147 | 4.72 | 97.28
Unit 148 | 146 | 147 | 16.24 | 99.32
Unit 150 | 144 | 146 | 5.24 | 98.63
Unit 152 | 145 | 145 | 4.96 | 100.00
Unit 153 | 145 | 145 | 4.36 | 100.00
Unit 154 | 143 | 145 | 7.08 | 98.62
Unit 158 | 132 | 137 | 4.86 | 96.35
Unit 160 | 132 | 136 | 4.70 | 97.06

## Slide 8: IRR ≥ 95%, ≥ 100 Scored Intervals – February 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 162 | 119 | 124 | 3.62 | 95.97
Unit 164 | 115 | 118 | 3.36 | 97.46
Unit 165 | 116 | 118 | 5.77 | 98.31
Unit 166 | 115 | 116 | 5.55 | 99.14
Unit 170 | 111 | 113 | 2.82 | 98.23
Unit 171 | 111 | 113 | 2.79 | 98.23
Unit 174 | 96 | 101 | 11.95 | 95.05
Unit 175 | 98 | 100 | 6.71 | 98.00

## Slide 9: IRR < 95%, ≥ 100 Scored Intervals – February 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 2,065 | 2,192 | 1.33 | 94.21
Unit 4 | 1,899 | 2,002 | 7.07 | 94.86
Unit 5 | 1,593 | 1,755 | 2.99 | 90.77
Unit 6 | 1,643 | 1,736 | 8.77 | 94.64
Unit 8 | 1,338 | 1,493 | 4.31 | 89.62
Unit 9 | 1,338 | 1,471 | 7.38 | 90.96
Unit 13 | 1,206 | 1,378 | 6.92 | 87.52
Unit 18 | 759 | 1,163 | 8.31 | 65.26
Unit 20 | 1,035 | 1,139 | 6.20 | 90.87
Unit 22 | 994 | 1,077 | 6.81 | 92.29
Unit 27 | 865 | 953 | 5.68 | 90.77
Unit 29 | 791 | 865 | 4.78 | 91.45
Unit 30 | 791 | 856 | 6.87 | 92.41
Unit 32 | 777 | 842 | 4.31 | 92.28
Unit 39 | 679 | 738 | 5.23 | 92.01
Unit 46 | 555 | 625 | 3.56 | 88.80
Unit 47 | 561 | 610 | 4.50 | 91.97
Unit 48 | 545 | 597 | 2.64 | 91.29
Unit 49 | 515 | 594 | 2.51 | 86.70

## Slide 10: IRR < 95%, ≥ 100 Scored Intervals – February 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 50 | 301 | 588 | 4.93 | 51.19
Unit 51 | 473 | 528 | 7.42 | 89.58
Unit 52 | 253 | 521 | 2.27 | 48.56
Unit 53 | 297 | 514 | 7.93 | 57.78
Unit 54 | 481 | 513 | 7.45 | 93.76
Unit 56 | 386 | 498 | 5.03 | 77.51
Unit 57 | 453 | 493 | 6.47 | 91.89
Unit 58 | 242 | 480 | 13.26 | 50.42
Unit 59 | 432 | 464 | 5.74 | 93.10
Unit 60 | 415 | 459 | 8.36 | 90.41
Unit 62 | 399 | 430 | 4.57 | 92.79
Unit 65 | 99 | 412 | 3.04 | 24.03
Unit 66 | 381 | 406 | 7.23 | 93.84
Unit 67 | 340 | 405 | 7.60 | 83.95
Unit 69 | 374 | 398 | 5.59 | 93.97
Unit 70 | 335 | 394 | 12.59 | 85.03
Unit 73 | 344 | 372 | 9.90 | 92.47
Unit 74 | 267 | 370 | 10.69 | 72.16
Unit 77 | 320 | 345 | 2.53 | 92.75

## Slide 11: IRR < 95%, ≥ 100 Scored Intervals – February 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 78 | 304 | 336 | 5.35 | 90.48
Unit 79 | 304 | 329 | 4.21 | 92.40
Unit 80 | 266 | 322 | 5.89 | 82.61
Unit 82 | 290 | 316 | 0.97 | 91.77
Unit 83 | 207 | 316 | 10.84 | 65.51
Unit 84 | 284 | 313 | 1.92 | 90.73
Unit 86 | 296 | 312 | 8.23 | 94.87
Unit 88 | 232 | 311 | 1.16 | 74.60
Unit 89 | 292 | 309 | 4.77 | 94.50
Unit 90 | 286 | 307 | 6.38 | 93.16
Unit 91 | 288 | 306 | 1.07 | 94.12
Unit 93 | 257 | 301 | 4.03 | 85.38
Unit 94 | 281 | 296 | 6.43 | 94.93
Unit 97 | 261 | 282 | 3.74 | 92.55
Unit 99 | 264 | 279 | 4.42 | 94.62
Unit 100 | 257 | 273 | 5.29 | 94.14
Unit 101 | 251 | 273 | 5.87 | 91.94
Unit 102 | 64 | 272 | 4.27 | 23.53
Unit 103 | 256 | 271 | 3.37 | 94.46

## Slide 12: IRR < 95%, ≥ 100 Scored Intervals – February 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 104 | 212 | 271 | 7.31 | 78.23
Unit 106 | 222 | 266 | 5.35 | 83.46
Unit 108 | 234 | 266 | 9.27 | 87.97
Unit 110 | 241 | 263 | 3.14 | 91.63
Unit 111 | 240 | 255 | 6.59 | 94.12
Unit 114 | 187 | 253 | 6.54 | 73.91
Unit 115 | 218 | 240 | 6.40 | 90.83
Unit 117 | 182 | 236 | 2.13 | 77.12
Unit 120 | 187 | 217 | 6.26 | 86.18
Unit 122 | 110 | 212 | 4.60 | 51.89
Unit 124 | 181 | 203 | 5.73 | 89.16
Unit 128 | 169 | 197 | 6.19 | 85.79
Unit 129 | 125 | 194 | 7.85 | 64.43
Unit 130 | 175 | 186 | 2.66 | 94.09
Unit 132 | 94 | 173 | 2.74 | 54.34
Unit 134 | 163 | 172 | 7.92 | 94.77
Unit 135 | 150 | 163 | 2.92 | 92.02
Unit 137 | 150 | 162 | 1.06 | 92.59
Unit 140 | 128 | 155 | 3.96 | 82.58

## Slide 13: IRR < 95%, ≥ 100 Scored Intervals – February 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 141 | 143 | 152 | 4.77 | 94.08
Unit 142 | 73 | 149 | 3.31 | 48.99
Unit 149 | 62 | 147 | 5.26 | 42.18
Unit 151 | 128 | 145 | 1.12 | 88.28
Unit 155 | 126 | 139 | 4.46 | 90.65
Unit 156 | 108 | 138 | 3.85 | 78.26
Unit 157 | 108 | 137 | 6.62 | 78.83
Unit 159 | 104 | 137 | 3.90 | 75.91
Unit 161 | 123 | 131 | 4.60 | 93.89
Unit 163 | 60 | 119 | 16.48 | 50.42
Unit 167 | 84 | 115 | 4.24 | 73.04
Unit 168 | 57 | 115 | 2.83 | 49.57
Unit 169 | 102 | 114 | 1.79 | 89.47
Unit 172 | 95 | 111 | 4.92 | 85.59
Unit 173 | 100 | 111 | 13.64 | 90.09