Date:			March 26, 2025

To:			Technical Advisory Committee (TAC) Representatives

From:			Diana Coleman, Protocol Revision Subcommittee (PRS) Chair

Subject: 		Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following NPRR(s) recommended for approval by PRS: - NPRR1234, Interconnection Requirements for Large Loads and Modeling Standards for Loads 25 MW or Greater [ERCOT] - NPRR1256, Settlement of MRA of ESRs [ERCOT] - NPRR1268, RTC – Modification of Ancillary Service Demand Curves – URGENT [IMM] - NPRR1269, RTC+B Three Parameters Policy Issues – URGENT [ERCOT] - NPRR1270, Additional Revisions Required for Implementation of RTC – URGENT [ERCOT] - NPRR1273, Appropriate Accounting for ESRs in PRC Calculation – URGENT [ERCOT] - SCR829, API for the NDCRC Application [Joint Sponsors]

##### Background/History: Unless otherwise noted: (i) all Market Segments participated in each vote and (ii) for NPRRs, ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed the NPRR and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR1234, Interconnection Requirements for Large Loads and Modeling Standards for Loads 25 MW or Greater Sponsor: ERCOT Proposed Effective Date: Upon system implementation – Priority 2026; Rank 4730 Estimated Impacts: Between $600K and $800K; Between $180K and $220K (Annual Recurring O&M) Revision Description: This NPRR and the related PGRR115, Related to NPRR1234, Interconnection Requirements for Large Loads and Modeling Standards for Loads 25 MW or Greater, establish interconnection and modeling requirements for “Large Loads”—defined in this NPRR to refer to one or more Facilities at a single site with an aggregate peak power Demand of 75 MW or more. ERCOT proposes these requirements based upon its experience with the interim large Load interconnection process implemented on March 25, 2022, analysis of operational events, and the discussion of various issues concerning Large Loads explored by the Large Flexible Load Task Force (LFLTF). Additionally, this NPRR facilitates the addition of a new study process for Large Loads seeking to interconnect to the ERCOT system. This process is described in the accompanying PGRR115. This NPRR also adds a requirement that any Resource Entity that adds 20 MW or more of Load at any site with an existing Generation Resource shall submit a new Reactive Power study. The study must demonstrate the continued compliance of the Generation Resource with Voltage Support Service (VSS) requirements. This NPRR also establishes specific Subsynchronous Oscillation (SSO) requirements for Large Loads and revises and supplements SSO-related definitions, in addition to clarifying existing SSO requirements. Furthermore, although the primary focus of this NPRR is Loads that are 75 MW or larger, this NPRR also establishes new standards for the identification and classification of a site with an aggregate peak Demand of 25 MW or more at a common substation in ERCOT Network Operations Model. Such information will provide ERCOT visibility of the locations of these Loads for operational and planning purposes. Finally, this NPRR adds a fee for Large Load Interconnection Study Requests to the ERCOT Fee Schedule. PRS Decision: On 2/12/25, PRS voted to recommend approval of NPRR1234 as amended by the 1/24/25 ERCOT comments. There was one opposing vote from the Consumer (Occidental) Market Segment and one abstention from the Independent Power Marketer (IPM) (Tenaska) Market Segment. On 3/12/25, PRS voted to endorse and forward to TAC the 2/12/25 PRS Report and 5/28/24 Impact Analysis for NPRR1234 with a recommended priority of 2026 and rank of 4730. There was one opposing vote from the Consumer (Occidental) Market Segment and one abstention from the Independent Generator (Calpine) Market Segment. - NPRR1256, Settlement of MRA of ESRs Sponsor: ERCOT Proposed Effective Date: Upon system implementation; and upon system implementation of Nodal Protocol Revision Request (NPRR) 885, Must-Run Alternative (MRA) Details and Revisions Resulting from PUCT Project No. 46369, Rulemaking Relating to Reliability Must-Run Service – Priority 2027; Rank 4800 Estimated Impacts: Between $25K and $50K Revision Description: This NPRR changes language in select provisions in Section 6, Adjustment Period and Real-Time Operations, related to Must-Run Alternatives (MRAs) primarily in grey-boxed language from NPRR885 in order to align the terminology for Energy Storage Resources (ESRs) for the single-model era and specify how Qualified Scheduling Entities (QSEs) representing ESR MRAs would be settled for the provision of MRA Service. The Settlement changes reflect that ESR MRAs would not have fuel costs, but would have costs associated with charging. PRS Decision: On 2/12/25, PRS voted unanimously to recommend approval of NPRR1256 as amended by the 1/27/25 ERCOT comments. On 3/12/25, PRS voted unanimously to endorse and forward to TAC the 2/12/25 PRS Report and 10/14/24 Impact Analysis for NPRR1256 with a recommended priority of 2027 and rank of 4800. - NPRR1268, RTC – Modification of Ancillary Service Demand Curves – URGENT Sponsor: IMM Proposed Effective Date: To be determined Estimated Impacts: To be determined Revision Description: This NPRR defines a methodology for disaggregating the Operating Reserve Demand Curve (ORDC), creating “blended” Ancillary Service Demand Curves (ASDCs). PRS Decision: On 3/12/25 PRS voted to grant NPRR1268 Urgent status; to recommend approval of NPRR1268 as amended by the 3/7/25 Hunt Energy Network comments; and to forward to TAC NPRR1268. There was one abstention from the Independent Generator (Vistra) Market Segment. - NPRR1269, RTC+B Three Parameters Policy Issues – URGENT Sponsor: ERCOT Proposed Effective Date: Upon system implementation of PR447, Real-Time Co-Optimization (RTC) Estimated Impacts: No impact Revision Description: This NPRR determines and codifies a group of policy changes that were deferred from the original RTC-related Protocols developed in 2020. The three policy concepts below have been developed in coordination with the RTC + Batteries Task Force (RTCBTF): parameters for Ancillary Service proxy offers floors; scaling factor values for ramping; and ASDCs for use in Reliability Unit Commitment (RUC) studies. PRS Decision: On 3/12/25, PRS voted to grant NPRR1269 Urgent status; to recommend approval of NPRR1269 as amended by the 3/4/25 TCPA comments; and to forward to TAC NPRR1269 and the 1/28/25 Impact Analysis. There were three opposing votes from the Consumer (Residential Consumer, City of Eastland, Occidental) Market Segment. - NPRR1270, Additional Revisions Required for Implementation of RTC – URGENT Sponsor: ERCOT Proposed Effective Date: Upon system implementation of PR447, Real-Time Co-Optimization (RTC) Estimated Impacts: No impact Revision Description: This NPRR updates requirements for Load Resources that are changing under Real-Time Co-optimization (RTC) and were not updated in earlier revisions; removes language associated with group assignments in the Day-Ahead Market (DAM); deployments are Resource-specific based on Real-Time awards; no requirement to return to service in three hours as that capacity will be replaced with awarded capacity in Real-Time; eliminates the automatic qualification of all Resources to provide On-Line Non-Spinning Reserve (Non-Spin) and Security-Constrained Economic Dispatch (SCED)-dispatchable ERCOT Contingency Reserve Service (ECRS). Resources will be required to undergo a qualification test to provide each of these services; and adds additional pre-processing checks in the SCED process to validate Ancillary Service capability telemetry that are sent by Qualified Scheduling Entities (QSEs). PRS Decision: On 3/12/25, PRS voted unanimously to grant NPRR1270 Urgent status; to recommend approval of NPRR1270 as submitted; and to forward to TAC NPRR1270 and the 1/28/25 Impact Analysis. - NPRR1273, Appropriate Accounting for ESRs in PRC Calculation – URGENT Sponsor: ERCOT Proposed Effective Date: The first of the month following Public Utility Council of Texas (PUCT) approval Estimated Impacts: No impact Revision Description: This NPRR modifies the capacity from Energy Storage Resources (ESRs) included in the calculation of PRC to be the amount that can be sustained for 45 minutes. PRS Decision: On 3/12/25, PRS voted unanimously to grant NPRR1273 Urgent status; to recommend approval of NPRR1273 as submitted; and to forward to TAC NPRR1273 and the 2/12/25 Impact Analysis. - SCR829, API for the NDCRC Application Sponsor: Joint Sponsors Proposed Effective Date: Upon system implementation – Priority 2025; Rank 4560 Estimated Impacts: Between $100K and $200K Revision Description: This SCR adds an Application Programming Interface (API) to upload unit testing data and download unit testing data from the Net Dependable Capability and Reactive Capability (NDCRC) application. PRS Decision: On 1/15/25, PRS voted unanimously to recommend approval of SCR829 as submitted. On 3/12/25, PRS voted unanimously to endorse and forward to TAC the 2/12/25 PRS Report and 3/11/25 Impact Analysis for SCR829 with a recommended priority of 2025 and rank of 4560. Revision Requests Rejected None Revision Requests Withdrawn - SCR827, Grid Conditions Graph Addition for Operating Reserve Demand Curve (ORDC) Level [ACES] Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at PRS - NPRR1214, Reliability Deployment Price Adder Fix to Provide Locational Price Signals, Reduce Uplift and Risk [Joint Sponsors] - NPRR1226, Estimated Demand Response Data [ERCOT Steel Mills] - NPRR1229, Real-Time Constraint Management Plan Cost Recovery Payment [STEC] - NPRR1238, Voluntary Registration of Loads with Curtailable Load Capabilities [GSEC] - NPRR1271, Revision to User Security Administrator and Digital Certificates Opt-out Eligibility [ERCOT] - NPRR1275, Expansion of Qualifying Pipeline Definition for Firm Fuel Supply Service in Phase 3 [ERCOT] - SCR830, Expose Limited API Endpoints Using Machine-to-Machine Authentication [AEP] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR956, Designation of Providers of Transmission Additions [ERCOT] - NPRR1070, Planning Criteria for GTC Exit Solutions [EDF Renewables / Pattern Energy] - NPRR1202, Refundable Deposits for Large Load Interconnection Studies [Lancium] - NPRR1235, Dispatchable Reliability Reserve Service as a Stand-Alone Ancillary Service [ERCOT] - NPRR1255, Introduction of Mitigation of ESRs [ERCOT] - NPRR1262, Ancillary Service Opt Out Clarification [Cholla Petroleum] - NPRR1263, Remove Accuracy Testing Requirements for CCVTs [WETT] - NPRR1264, Creation of a New Energy Attribute Certificate Program [TEBA] - NPRR1265, Unregistered Distributed Generator [ERCOT] - NPRR1266, Opt-Out Status Held by a Transmission-Voltage Customer Cannot be Transferred [ERCOT] - NPRR1267, Large Load Interconnection Status Report [Joint Sponsors] - NPRR1272, Voltage Support at Private Use Networks [Occidental] - NPRR1274, RPG Estimated Capital Cost Thresholds of Proposed Transmission Projects [ERCOT] - SCR826, ERCOT.com Enhancements [Residential Consumer] - SCR831, Short Circuit Model Integration [ERCOT] New Revision Requests Scheduled for Consideration at PRS - NPRR1276, Move OBD to Section 22 – Emergency Response Service Procurement Methodology [ERCOT] These Revision Requests and supporting materials are posted on the ERCOT website at the following link: http://www.ercot.com/mktrules/issues/nprr https://www.ercot.com/mktrules/issues/scr