ERCOT Planning Guide Section 7: Market Data Transparency February 1, 2025

7	Market Data Transparency	1

7.1	Planning Data and Information	1

7	MARKET DATA TRANSPARENCY

7.1	Planning Data and Information

(1)	The information available on the ERCOT website or applicable Market Information System (MIS) (i.e., Secure or Certified Areas) includes, but is not limited to, planning information pertaining to the following:

(a)	Long-term planning;

(b)	Regional transmission planning;

(c)	Steady state data;

(d)	Resource integration;

(e)	Case studies and files used in planning;

(f)	Model information; and

(g)	Data and information available to specific groups of Market Participants.

(i)	Market Participants with a nondisclosure agreement with ERCOT have designated sections on the MIS that allow access to the certified posting of group information.

(ii)	Market Participants may access the artifacts posted for their respective groups on the MIS Secure Area.

[PGRR116: Insert paragraph (h) below upon system implementation of NPRR1240:] (h) Information on the ERCOT website pertaining to energy and demand shall include monthly reports with 15-minute interval data.

(2)	The list below includes both data set and designated classification of the available planning data and information.  Where the information is classified as “Certified,” the appropriate Market Participant category or group is “(all TSPs)” to indicate all Transmission Service Providers (TSPs) or “(PDCWG members)” to indicate members of the Performance, Disturbance, Compliance Working Group (PDCWG).

| Data Set | Classification |
| --- | --- |
| Aggregated Wind Output | ERCOT website |
| Annual Planning Model Data Submittal Schedule | Secure |
| Demand and Energy Monthly Reports | Secure |
| Dynamic Data Information | Certified (all TSPs) |
| Economic Studies of Transmission Projects for New Generation | Secure |
| ERCOT Long-Term System Assessment (LTSA) (except for Protected Information) | Secure |
| ERCOT LTSA | Certified (all TSPs) |
| ERCOT Steady State Planning Contingency Files | Secure |
| ERCOT System Operating Limit (SOL) Methodology | ERCOT website |
| Generation Data Forms | Secure |
| Generator Interconnection Status (GIS) Report | ERCOT website |
| Geomagnetically-Induced Current (GIC) Flow Information | Secure |
| Geomagnetic Disturbance (GMD) Vulnerability Assessment Postings (except for Protected Information) – includes ERCOT Critical Energy Infrastructure Information (ECEII) | Secure |
| GMD Vulnerability Assessment Postings – includes ECEII and Protected Information | Certified (all TSPs) |
| GMD Vulnerability Assessment Postings (redacted) – excludes ECEII and Protected Information | ERCOT website |
| Documents Initiating a Generation Interconnection or Change Request (GINR) | Certified (all TSPs) |
| GINR Security Screening Studies and Supporting Documents | Secure |
| Sub-synchronous Oscillation Studies and Supporting Documents | Certified (all TSPs) |
| Full Interconnection Study (FIS): Steady-State, System Protection, Stability, and Facility Studies and Supporting Documents (except for Protected Information) | Secure |
| FIS: Draft Steady-State, System Protection, Stability, and Facility Studies and Supporting Documents | Certified (all TSPs) |
| Independent Market Monitor (IMM) and Topology Processor Supporting Documents | Certified (all TSPs) |
| Performance, Disturbance, Compliance Working Group (PDCWG) Group Documents and Project Files | Certified (PDCWG members) |
| Public Generation Information | ERCOT website |
| Remedial Action Plan (RAP) Review Cases | Certified (all TSPs) |
| Resource Registration Data | Certified (all TSPs) |
| Regional Planning Group Projects | Secure |
| Regional Transmission Plan Postings (except for Protected Information) – includes ERCOT Critical Energy Infrastructure Information (ECEII) | Secure |
| Regional Transmission Plan Postings – includes ECEII and Protected Information | Certified (all TSPs) |
| Regional Transmission Plan Postings (redacted) – excludes ECEII and Protected Information | ERCOT website |
| Seasonal Voltage Profile Studies | Certified (all TSPs) |
| Special Planning Studies (except for Protected Information) | Secure |
| Special Planning Studies | Certified (all TSPs) |
| Steady State Power Flow Base Cases | Secure |
| Steady State Power Flow Case Data | Certified (all TSPs) |
| Steady State Topology Processor Files | Secure |
| Steady State Transmission Project and Information Tracking (TPIT) Procedures | Secure |
| System Protection Short Circuit Data | Secure |
| Transient Stability Screening Study for ERCOT System | Certified (all TSPs) |
| TSP Planning Criteria and Procedures | Secure |
| Voltage Stability Screening Study for ERCOT System | Certified (all TSPs) |

[PGRR116: Replace paragraph (2) above with the following upon system implementation of NPRR1240:] (2) The list below includes both data set and designated classification of the available planning data and information. Where the information is classified as “Certified,” the appropriate Market Participant category or group is “(all TSPs)” to indicate all Transmission Service Providers (TSPs) or “(PDCWG members)” to indicate members of the Performance, Disturbance, Compliance Working Group (PDCWG). “RIOO-RS” indicates information in Resource Integration and On-going Operations–Resource Services. Information classified as “Public” is available on the ERCOT website. The list below is intended to be only a general guide and not controlling language, and any conflict between this list and another section of the Planning Guide is controlled by the other section. Data Set; Classification. Aggregated Wind Output; Public. Annual Planning Model Data Submittal Schedule; Secure. Demand and Energy Monthly Reports; ERCOT website. Dynamic Data Information; Certified (all Transmission Service Providers (TSPs)). Economic Studies of Transmission Projects for New Generation; Secure. ERCOT Long-Term System Assessment (LTSA) (except for Protected Information) – includes ERCOT Critical Energy Infrastructure Information (ECEII); Secure. ERCOT LTSA – includes ECEII and Protected Information; Certified (all TSPs). ERCOT LTSA (redacted) – excludes ECEII and Protected Information; ERCOT website. ERCOT Steady State Planning Contingency Files; Secure. ERCOT System Operating Limit (SOL) Methodology; Public. Generator Interconnection Status (GIS) Report; Public. Geomagnetically-Induced Current (GIC) Flow Information; Secure. Geomagnetic Disturbance (GMD) Vulnerability Assessment Postings (except for Protected Information); Secure. GMD Vulnerability Assessment Postings; Certified (all TSPs). Documents Initiating a Generation Interconnection or Change Request; Secure (RIOO-RS). Security Screening Studies and Supporting Documents; Secure (RIOO-RS). Sub-synchronous Oscillation Studies and Supporting Documents; Certified (all TSPs). Full Interconnection Study (FIS): Steady-State, System Protection, Stability, and Facility Studies and Supporting Documents (except for Protected Information); Secure. FIS: Draft Steady-State, System Protection, Stability, and Facility Studies and Supporting Documents; Certified (all TSPs). Independent Market Monitor (IMM) and Topology Processor Supporting Documents; Certified (all TSPs). Performance, Disturbance, Compliance Working Group (PDCWG) Group Documents and Project Files; Certified (PDCWG members). Public Generation Information; Public. Remedial Action Plan (RAP) Review Cases; Certified (all TSPs). Resource Registration Data; Certified (all TSPs). Regional Planning Group Projects; Secure. Regional Transmission Plan Postings (except for Protected Information); Secure. Regional Transmission Plan Postings; Certified (all TSPs). Seasonal Voltage Profile Studies; Certified (all TSPs). Special Planning Studies (except for Protected Information); Secure. Special Planning Studies; Certified (all TSPs). Steady State Power Flow Base Cases; Secure. Steady State Power Flow Case Data; Certified (all TSPs). Steady State Topology Processor Files; Secure. Steady State Transmission Project and Information Tracking (TPIT) Procedures; Secure. System Protection Short Circuit Data; Secure. Transient Stability Screening Study for ERCOT System; Certified (all TSPs). TSP Planning Criteria and Procedures; ERCOT website. Voltage Stability Screening Study for ERCOT System; Certified (all TSPs).