IBRWG Update

March 2025

Chair: Julia Matevosyan, Vice-Chair: Miguel Cova Acosta

IBRWG met on March 14th (Webex, Open Meeting).

The agenda and the presentation slides are available here

106 people attended the meeting (at peak)

IBRWG Main Meeting

BESS Ride Through in WECC

Curtis Holland, WECC

- Discussed Battery Energy Storage Systems events/issues and mitigations in WECC:

  - Tripping events

  - PFR / AGC coordination issues

  - Oscillation issues

  - Fires

- Followed by discussion on needs for improved modeling and testing before and after commissioning; as well as education on operator’s PFR/AGC performance expectations & priorities that need to be provided to BESS operators, especially because the projects are often changing hands multiple times throughout their lifetime.

HRL of a single resource vs an aggregated value of a defined IRR Group

Abhi Masanna Gari, ERCOT

- Provided Recap of the issue brought by Acciona Energy from February IBRWG meeting

- ERCOT suggested that potentially Self-Limiting Facility concept may help to solve the issue here

- Acciona confirmed that they looked at the SLF concept but don’t believe it helps in case of IRR group (a plant consisting of multiple IRR units).

- ERCOT and Acciona agreed to discuss offline and bring back an update on the resolution to IBRWG.

Short industry update (no slides)

Julia Matevosyan (ESIG)

- Related to today’s WECC presentation on IBR performance issues, DOE i2x FIRST workshop held on 3/17, focusing conformity assessment of an IBR plant post commissioning, leaning on the draft proposed language of IEEE2800.2. https://www.esig.energy/event/i2x-first-hybrid-workshop-interconnection-standards-workshop-spring-2025/ (presentations are now posted and the recording will appear under the same link in a few weeks)

- First (in Great Britain) GFM BESS that was awarded as a part of the Stability Pathfinder, Phase 2 tender, has now been commissioned: Blackhillock BESS, SMA is the inverter OEM there, the project is 200 MVA. This is first out of 5 GFM BESS that has been awarded as a part of that tender.

- ESIG’s study on the Benefits of GFM BESS in ATC service territory (in MISO footprint) has now been published, here https://www.esig.energy/benefits-of-gfm-bess-project-team/ (webinar and a brief paper)