## Slide 1
Item 12.1.2.1: ERCOT Comments on NPRR 1269
Keith Collins
Vice President, Commercial Operations
Board of Directors Meeting
ERCOT Public
April 7-8, 2025

## Slide 2: Overview
Key Takeaways
  There is a legitimate concern that DAM and RTM pricing may be insufficient to incent self-commitment of Resources for Ancillary Services and lead to increased RUC instructions, even when there is sufficient Resource capability otherwise.
  A $15 per MW per hour floor on the Ancillary Service Demand Curves (ASDC) is a modest floor, affecting average overall prices minimally ($0.34/MWh, or 0.4% for the more extreme estimate of energy prices).
  The floors also help to lessen smaller levels of Ancillary Service shortages when there are sufficient competitive offers.
  The proposed proxy offer curve is a compromise that was used in the studies on the ASDCs. The proxy offer curve did not result in unreasonable outcomes.
Purpose
  This presentation is intended to provide ERCOT’s perspective on Nodal Protocol Revision Request (NPRR) 1269, RTC+B Three Parameters Policy Issues.
Voting Items / Requests
  ERCOT staff’s position is that the Board approve NPRR1269, as approved by TAC.

## Slide 3: Ancillary Service Demand Curve Floor
ERCOT is concerned that the ASDC curve in NPRR 1268 will result in more RUCs.
ERCOT extensively studied the $15 per MW per hour ASDC floor in RUC. ERCOT analysis shows that the $15 floor would be effective in the RUC process.
ERCOT anticipates that extending the $15 per MW per hour curve to the day-ahead and real-time should help promote self-commitment.
  ERCOT analysis showed that hitting the ASDC floor was infrequent (1.4% of intervals).
  The price impact was only $0.34/MWh (0.4% of the extreme price outcomes).
The ASDC floor helps compensate resources that meet the reserve requirement that would be valued at $0 or pennies otherwise.
This is not a price floor. To the degree there are sufficient Ancillary Service offers and Resource capability, those offers would set the price, not the ASDCs.
Key Takeaways
  ERCOT supports the proposed ASDC floor of $15 per MW per hour.

## Slide 4: Proper price formation
The reliability of ERCOT’s grid depends on price signals that promote reliable outcomes.
Given the importance of price formation and incentives, using the market to signal self-commitment is preferred to RUC actions.
  While ERCOT can ensure operational reliability in the short-term through RUC commitments, long-term reliability requires proper price signals.
  The ASDC floor works toward enhancing these long-term price signals.
  Adjustments can be made in the future to fine tune the ASDC floor if needed.
Key Takeaways
  Proper price formation promotes long-term reliability.
  Providing price signals to avoid RUCs helps promote long-term reliability.

## Slide 5: Proxy offer curve floor
A proxy offer curve floor is needed when an offer is missing.
  Offers can be missing due to human or technical issues.
  The IMM noted that missing offers generally have been a limited issue, and has agreed to present on missing offers at future meetings.
The proposed proxy curve in NPRR 1269 is a compromise that looks to strike a balance between concerns raised by many stakeholders.
  ERCOT staff originally proposed a proxy offer of $0 per MW per hour.
  Participants proposed a proxy offer of $2,000 per MW per hour.
  The compromise is the lesser value of:
    $2,000 per MW per hour; or
    The point on the ASDC for the Ancillary Service that intersects with a quantity that is 95% of the Ancillary Service Plan for that Ancillary Service.
  The compromise curve was used in ERCOT’s ASDC analysis. ERCOT did not identify any concerns with this proxy offer curve in its analysis.
Key Takeaways
  ERCOT supports the proposed proxy offer curve as a compromise.

## Slide 6: Balancing strategic withholding while covering costs
When an offer is missing, not having a proxy offer curve floor can result in inappropriate scarcity and be a form of strategic withholding behavior.
  A low offer curve floor of $0 per MW per hour addresses both of these issues, but ignores the costs of providing reserves
  A high offer curve floor of $2,000 per MW per hour does not address the strategic behavior and has the potential to result in in appropriate scarcity. However, it does cover costs of providing reserves.
The compromise solution balances the concerns with inappropriate scarcity, strategic withholding behavior, and the need to reflect costs of providing reserves across a range of resource technologies.
Using the proxy offer curve floor in our studies did not raise any concerns with reliability or market outcomes.
Key Takeaways
  The compromise balances concerns with inappropriate scarcity, strategic behavior, and costs.